## 날인 (hidden)
도 급 내 역 서
1. | 공사명 | : | 연세대학교 국제캠퍼스 1-2단계 건립공사
2. | 공사기간 | : | 自 2011년 08월 일 착공 후
至 2013년 02월 28일 ( 19 개월간 )
3. | 총액 | : | 일금 일천이백이십일억삼천삼백구십오만이천오백육십이 원정(VAT 포함)
122133952562
4. | 내역별첨 | : | 공사비 내역서
위와 같이 공사비 내역서를 제출하나이다.
|  |  | "갑" | "을"
|  |  | 인천광역시 연수구 송도동 162-1 | 서울특별시 종로구 신문로1가 57
|  |  | 송도국제화복합단지개발㈜ | 상호 : (주) 대우건설
|  |  | 대표이사 : (인) | 대표이사 : 서 종 욱 (인)
송도국제화복합단지개발(주) 귀중

## 원가계산서 (hidden)
공사비 집계표
공사명 : 연세대학교 국제캠퍼스 1-2단계 건립공사
NO | 명 칭 | 구 분 |  | 단위 | 수량 | 재료비 | 노무비 | 경비 | 합계 | 비 고
1 | 건축공사 |  |  | 식 | 1 | 31872339129 | 14622019594 | 2660158622 | 49154517345
2 | 토목공사 |  |  | 식 | 1 | 1486474196 | 239874974 | 180660327 | 1907009497
3 | 조경공사 |  |  | 식 | 1 | 3381483491 | 789435010 | 66280520 | 4237199021
4 | 기계설비공사 |  |  | 식 | 1 | 20297240574 | 6527087760 |  | 26824328334
5 | 전기설비공사 |  |  | 식 | 1 | 12204687157 | 1801923393 |  | 14006610550
6 | 통신설비공사 |  |  | 식 | 1 | 5826823865 | 988075656 |  | 6814899521
7 | 소방공사 |  |  | 식 | 1 | 256014098 | 304322915 |  | 560337013
| [ 소 계 ] |  |  |  |  | 75325062510 | 25272739302 | 2907099469 | 103504901281
1 | 간접노무비 | (직접)노무비 * | 8.4% | 식 | 1 |  | 2122910101 |  | 2122910101
2 | 산재보험료 | 노무비 * | 3.6% | 식 | 1 |  |  | 986243378 | 986243378
3 | 고용보험료 | 노무비 * | 1.24% | 식 | 1 |  |  | 339706052 | 339706052
4 | 건강보험료 | (직접)노무비 * | 1.7% | 식 | 1 |  |  | 429636568 | 429636568
5 | 요양보험료 | 건강보험료 * | 6.55% | 식 | 1 |  |  | 28141195 | 28141195
6 | 연금보험료 | (직접)노무비 * | 2.49% | 식 | 1 |  |  | 629291208 | 629291208
7 | 퇴직공제부금 | (직접)노무비 * | 2.3% | 식 | 1 |  |  | 581273003 | 581273003
8 | 안전관리비 | (재료+(직접)노무) * | 1.88% | 식 | 1 |  |  | 1891238674 | 1891238674
9 | 환경보존비 | (재료+직노+경비) * | 0.5% | 식 | 1 |  |  | 517524506 | 517524506
10 | 일반관리비 | (재료+노무+경비) * | 0% | 식 | 1
11 | 이윤 | (노무+경비+일반관리비) * | 0% | 식 | 1
| [ 소 계 ] |  |  |  |  | 0 | 2122910101 | 5403054584 | 7525964685
| [ 공 사 비 계 ] |  |  |  |  | 75325062510 | 27395649403 | 8310154053 | 111030865966
| 부가가치세 |  |  |  |  | 7532506251 | 2739564940 | 831015405 | 11103086596
| [ 총 공 사 비 ] |  |  |  |  | 82857568761 | 30135214343 | 9141169458 | 122133952562 | VAT포함

## 내역서표지
GMoMA 경기도미술관 뮤지엄샵 리노베이션공사
내 역 서

## 원가계산 서
공 사 원 가 계 산 서
공사명 : GMoMA 경기도미술관 뮤지엄샵 리노베이션공사
비 목 |  |  | 금 액 | 구 성 비 | 비 고
순 공 사 원 가 | 재 료 비 | 직 접 재 료 비 | 67818102 |  | 50억 미만
|  | 간 접 재 료 비 |  |  | 1개월미만 공사기준
작업설, 부산물(△)
|  | [ 소 계 ] | 67818102
| 노 무 비 | 직 접 노 무 비 | 41889730
|  | 간 접 노 무 비 | 3309288 | 직접노무비 * 7.9%
|  | [ 소 계 ] | 45199018
| 경 비 | 기 계 경 비 | 766267
|  | 산 재 보 험 료 | 1830560 | 노무비 * 4.05%
|  | 고 용 보 험 료 | 393231 | 노무비 * 0.87%
|  | 국민 건강 보험료 |  | 직접노무비 * 1.7%
|  | 국민 연금 보험료 |  | 직접노무비 * 2.49%
|  | 노인장기요양보험료 |  | 건강보험료 * 7.38%
퇴직 공제 부금비
|  | 산업안전보건관리비 | 3214439 | (재료비+직노) * 2.93%
|  | 환 경 보 전 비 | 552370 | (재료비+직노+기계경비) * 0.5%
|  | 기 타 경 비 | 6215941 | (재료비+노무비) * 5.5%
|  | 하도급지급보증수수료 | 89484 | (재료비+직노+기계경비) * 0.081%
|  | 건설기계대여금지급보증서발급수수료 | 77331 | (재료비+직노+기계경비) * 0.07%
|  | [ 소 계 ] | 13139623
계 |  |  | 126156743
일 반 관 리 비 |  |  | 6307837 | 계 * 5%
이 윤 |  |  | 6464647 | (노무비+경비+일반관리비) * 10%
폐기물 처리비 |  |  | 1350000
공 급 가 액 |  |  | 140279227
부 가 가 치 세 |  |  | 14027922 | 공급가액 * 10%
도 급 액 |  |  | 154307149
총 공 사 비 |  |  | 154307149

## 집계표
구분 | 품명 | 규격 | 스펙 | 단위 | 수량 | 재료비 |  | 노무비 |  | 경비 |  | 합계 |  | 비고
No | DESCRIPTION | SIZE | SPEC | UNIT | Q'TY | 단가 | 금액 | 단가 | 금액 | 단가 | 금액 | 단가 | 금액 | NOTE
** | GMoMA 경기도미술관 뮤지엄샵 리노베이션공사
A | 직접공사비
A | 인테리어공사 |  |  | 식 | 1 |  | 67818102 |  | 41889730 |  | 766267 |  | 110474099
| 직접공사비 계 | [5 empty] | 67818102 |  | 41889730 |  | 766267 |  | 110474099
** | 견적조건
- | 견적외사항 별도

## 인테리어내역서
구분 | 품명 | 규격 | 스펙 | 단위 | 수량 | 재료비 |  | 노무비 |  | 경비 |  | 합계 |  | 비고
No | DESCRIPTION | SIZE | SPEC | UNIT | Q'TY | 단가 | 금액 | 단가 | 금액 | 단가 | 금액 | 단가 | 금액 | NOTE
** | GMoMA 경기도미술관 뮤지엄샵 리노베이션공사
A | 인테리어공사
1. | 가설공사 |  |  | 식 | 1 |  | 2137469 |  | 5882214 |  | 0 |  | 8019683
2. | 철거공사 |  |  | 식 | 1 |  | 0 |  | 2033119 |  | 0 |  | 2033119
3. | 바닥공사 |  |  | 식 | 1 |  | 8581399 |  | 1201933 |  | 0 |  | 9783332
4. | 뮤지엄 SHOP |  |  | 식 | 1 |  | 23147234 |  | 32772464 |  | 766267 |  | 56685965
5. | 가구공사 |  |  | 식 | 1 |  | 33952000 |  | 0 |  | 0 |  | 33952000
| 직접공사비 계 | [5 empty] | 67818102 |  | 41889730 |  | 766267 |  | 110474099 | [5 empty] | 품명 | 수량 | 단가
** | 견적조건
- | 견적외사항 별도
1. | 가설공사
| 먹매김 |  |  | M2 | 261.38 | 0 | 0 | 878 | 229491 | 0 | 0 | 878 | 229491 | 1 | 먹메김 | 0.024 | 2635.656
| 현장보양 | 플라베니어/골판지/비닐 |  | M2 | 261.38 | 564 | 147418 | 1098 | 286995 | 0 | 0 | 1662 | 434413 | 2 | 플라베니아 | 0.9*1.8 | 1800/m2 | 재료비 금액 하드롱지로 되어있음
| 현장정리정돈 | 준공청소포함 |  | M2 | 261.38 | 0 | 0 | 10981 | 2870213 | 0 | 0 | 10981 | 2870213 | 3
| 쌍줄비계설치 |  |  | M2 | 50 | 10000 | 500000 | 8000 | 400000 |  | 0 | 18000 | 900000 | 실거래단가
| 가설칸막이 | STUD 65T+GB 9.5T*1P+도배 |  | M2 | 76.1292 | 15632 | 1190051 | 26869 | 2045515 | 0 | 0 | 42501 | 3235566 | 20
| 가설도어 | 1800*2100 |  | EA | 1 | 300000 | 300000 | 50000 | 50000 | 0 | 0 | 350000 | 350000 | 실거래단가
| 계 | [5 empty] | 2137469 |  | 5882214 |  | 0 |  | 8019683
2. | 철거공사
| 기존바닥면부분철거 | 몰탈철거 |  | M2 | 24.347 | 0 | 0 | 13178 | 320844 | 0 | 0 | 13178 | 320844 | 27
| 벽체철거 |  |  | M2 | 157.716 | 0 | 0 | 9621 | 1517385 | 0 | 0 | 9621 | 1517385 | 28
| 계단챌판컬러시트철거 |  |  | M2 | 11.648 | 0 | 0 | 1098 | 12789 | 0 | 0 | 1098 | 12789 | 29
| FCU철거 |  |  | EA | 9 | 0 | 0 | 10981 | 98829 | 0 | 0 | 10981 | 98829 | 30
| 시트철거 |  |  | M2 | 75.84 | 0 | 0 | 1098 | 83272 | 0 | 0 | 1098 | 83272 | 29
| 계 | [5 empty] | 0 |  | 2033119 |  | 0 |  | 2033119
3. | 바닥공사
| 바닥미장 | 기존바닥면 경계구간 |  | M2 | 24.347 | 4817 | 117279 | 3624 | 88233 | 0 | 0 | 8441 | 205512 | 21
| LVT 타일깔기 | 5.5T | LVT-01 | M2 | 222.74 | 38000 | 8464120 | 5000 | 1113700 | 0 | 0 | 43000 | 9577820 | 실거래단가
| 계 | [5 empty] | 8581399 |  | 1201933 |  | 0 |  | 9783332
4. | 뮤지엄 SHOP
* | 메자닌공간 | [9 empty] | 0 |  | 0
- 구조보강
| 보강구조틀설치 | B-125*75*4.5T |  | M | 38.25 | 12305 | 470666 | 58832 | 2250324 | 1901 | 72713 | 73038 | 2793703 | 22
| 보강구조틀설치 | B-150*150*4.5T |  | M | 13.8 | 18952 | 261537 | 90633 | 1250735 | 2928 | 40406 | 112513 | 1552678 | 23
- 2층 바닥
| ST'L PLATE | 3.2T |  | M2 | 37.26 | 25488 | 949682 | 120775 | 4500076 | 3902 | 145388 | 150165 | 5595146 | 24
| 방진고무깔기 | 10T |  | M2 | 37.26 | 92 | 3427 | 89 | 3316 | 0 | 0 | 181 | 6743 | 16
| 일반합판깔기 | 12T*2PLY |  | M2 | 37.26 | 19303 | 719229 | 22408 | 834922 | 0 | 0 | 41711 | 1554151 | 14
| LVT 타일깔기 | 5.5T | LVT-01 | M2 | 37.26 | 38000 | 1415880 | 5000 | 186300 | 0 | 0 | 43000 | 1602180 | 실거래단가
- 2층 난간대
| 각파이프구조틀조성 | 1.6T ㅁ30*30 |  | M2 | 21.5832 | 6465 | 139535 | 27587 | 595415 | 891 | 19230 | 34943 | 754180 | 6
| ST'L 난간대조성 | 1.6T 60*10*300*100*502*40 |  | M | 13.8 | 14067 | 194124 | 58079 | 801490 | 1876 | 25888 | 74022 | 1021502 | 5
| 철부도장 |  |  | M2 | 14.0656 | 1503 | 21140 | 10591 | 148968 | 0 | 0 | 12094 | 170108 | 10
| 유리난간대 | 12T강화 H:600 |  | M | 13.8 | 185000 | 2553000 | 60000 | 828000 | 0 | 0 | 245000 | 3381000 | 실거래단가
- 2층 바닥하부
| 각파이프구조틀조성 | 1.6T ㅁ30*30 H:550 |  | M2 | 37.26 | 10025 | 373531 | 42779 | 1593945 | 1382 | 51493 | 54186 | 2018969 | 7
| 일반석고보드취부 | 9.5T*2PLY |  | M2 | 32.1126 | 6114 | 196336 | 13602 | 436795 | 0 | 0 | 19716 | 633131 | 26
| 천정몰딩 | AL |  | M | 19.2 | 2079 | 39916 | 5787 | 111110 | 0 | 0 | 7866 | 151026 | 25
| ALL PUTTY |  |  | M2 | 32.1126 | 1848 | 59344 | 7075 | 227196 | 0 | 0 | 8923 | 286540 | 11
| PAINT |  |  | M2 | 32.1126 | 5999 | 192643 | 1116 | 35837 | 0 | 0 | 7115 | 228480 | 12
| ST'L 단조성 | 1.6T 40*70*550*70*40 |  | M | 2.7 | 10702 | 28895 | 44191 | 119315 | 1427 | 3852 | 56320 | 152062 | 8
| ST'L 단조성 | 1.6T 40*70*R-794*70*40 |  | M | 13.8 | 14094 | 194497 | 58194 | 803077 | 1880 | 25944 | 74168 | 1023518 | 9
| 철부도장 |  |  | M2 | 16.0722 | 1503 | 24156 | 10591 | 170220 | 0 | 0 | 12094 | 194376 | 10
- 멘자닌 루버
| ㄷ 형 앵글부속 | 1.6T 100*200*100, W:50, 도장포함 |  | EA | 165 | 337 | 55605 | 1570 | 259050 | 37 | 6105 | 1944 | 320760 | 18
| ㄷ 형 앵글부속 | 1.6T 240*200*100, W:50, 도장포함 |  | EA | 55 | 455 | 25025 | 2120 | 116600 | 50 | 2750 | 2625 | 144375 | 19
| ST'L 루버 - R | 1.6T ㅁ50*120 |  | M | 435.05 | 4790 | 2083889 | 23092 | 10046174 | 746 | 324547 | 28628 | 12454610 | 15
| 철부도장 |  |  | M2 | 147.917 | 1503 | 222319 | 10591 | 1566588 | 0 | 0 | 12094 | 1788907 | 10
* | 벽체공사
| 메쉬커튼 |  |  | M2 | 104.956 | 30000 | 3148680 | 10000 | 1049560 | 0 | 0 | 40000 | 4198240 | 실거래단가
| METAL FABRIC |  |  | M2 | 104.956 | 70000 | 7346920 | 10000 | 1049560 | 0 | 0 | 80000 | 8396480 | 실거래단가
- 안내데스크상부
| ST'L 상부구조물 |  |  | SET | 1 | 296864 | 296864 | 1484000 | 1484000 | 47951 | 47951 | 1828815 | 1828815 | 17
| 철부도장 |  |  | M2 | 10.016 | 1503 | 15054 | 10591 | 106079 | 0 | 0 | 12094 | 121133 | 10
* | 천정공사
| ALL PUTTY |  |  | M2 | 222.74 | 1848 | 411623 | 7075 | 1575885 | 0 | 0 | 8923 | 1987508 | 11
| PAINT | 계단하부포함 |  | M2 | 222.74 | 5999 | 1336217 | 1116 | 248577 | 0 | 0 | 7115 | 1584794 | 12
| 스프링쿨러높이변경 |  |  | EA | 15 | 24500 | 367500 | 24890 | 373350 | 0 | 0 | 49390 | 740850 | 31
| 계 | [5 empty] | 23147234 |  | 32772464 |  | 766267 |  | 56685965
5. | 가구공사
* | 뮤지엄샵가구
| 책장 | 1200*400*1600, 하이그로시도장 | FU-001 | EA | 6 | 600000 | 3600000 | 0 | 0 | 0 | 0 | 600000 | 3600000 | 실거래단가
| 테이블 | 1200*1000*500, 하이그로시도장 | FU-002 | EA | 3 | 440000 | 1320000 | 0 | 0 | 0 | 0 | 440000 | 1320000 | 실거래단가
| 원형테이블 | Φ800*H:400, 하이그로시도장 | FU-003 | EA | 1 | 360000 | 360000 | 0 | 0 | 0 | 0 | 360000 | 360000 | 실거래단가
| 원형테이블 | Φ1200*H:400, 하이그로시도장 | FU-003 | EA | 1 | 440000 | 440000 | 0 | 0 | 0 | 0 | 440000 | 440000 | 실거래단가
| 원형테이블 | Φ1600*H:300, 하이그로시도장 | FU-003 | EA | 1 | 560000 | 560000 | 0 | 0 | 0 | 0 | 560000 | 560000 | 실거래단가
| 박스테이블 | 1800*600*500, 하이그로시도장 | FU-004 | EA | 2 | 520000 | 1040000 | 0 | 0 | 0 | 0 | 520000 | 1040000 | 실거래단가
| 미니테이블 | 340*340*340, 하이그로시도장 | FU-004 | EA | 4 | 200000 | 800000 | 0 | 0 | 0 | 0 | 200000 | 800000 | 실거래단가
| 사각테이블 | 1500*600*900, 하이그로시도장 | FU-005 | EA | 2 | 560000 | 1120000 | 0 | 0 | 0 | 0 | 560000 | 1120000 | 실거래단가
| D/P 판넬 | W:600*H:300, SUS H/L | FU-005 | EA | 3 | 144000 | 432000 | 0 | 0 | 0 | 0 | 144000 | 432000 | 실거래단가
| 곡선테이블 | 1500*600*900, 하이그로시도장 | FU-006 | EA | 2 | 640000 | 1280000 | 0 | 0 | 0 | 0 | 640000 | 1280000 | 실거래단가
| 타공테이블 | 1500*600*770, 하이그로시도장 | FU-007 | EA | 2 | 600000 | 1200000 | 0 | 0 | 0 | 0 | 600000 | 1200000 | 실거래단가
| 타공 D/P 판넬 | W:250*H:600, SUS H/L | FU-007 | EA | 6 | 200000 | 1200000 | 0 | 0 | 0 | 0 | 200000 | 1200000 | 실거래단가
| 하부장 | 1440*600*400, 하이그로시도장 | FU-008 | EA | 2 | 520000 | 1040000 | 0 | 0 | 0 | 0 | 520000 | 1040000 | 실거래단가
| 타공박스 | 2000*600*1200, 하이그로시도장+타공판넬 | FU-009 | EA | 1 | 800000 | 800000 | 0 | 0 | 0 | 0 | 800000 | 800000 | 실거래단가
| 테이블-1 | 1200*1000*450, 하이그로시도장 | FU-010 | EA | 2 | 440000 | 880000 | 0 | 0 | 0 | 0 | 440000 | 880000 | 실거래단가
| 테이블-2 | 800*600*250, 하이그로시도장 | FU-011 | EA | 2 | 240000 | 480000 | 0 | 0 | 0 | 0 | 240000 | 480000 | 실거래단가
| 사각부스 | 1200*1200*1200, SUS H/L | FU-012 | EA | 3 | 560000 | 1680000 | 0 | 0 | 0 | 0 | 560000 | 1680000 | 실거래단가
| 하부장 | 1200*1200*300, 하이그로시도장 | FU-013 | EA | 3 | 440000 | 1320000 | 0 | 0 | 0 | 0 | 440000 | 1320000 | 실거래단가
| 카운터 & 쇼케이스 | 4200*634*900, 하이그로시도장+유리+SUS H/L | FU-014 | EA | 1 | 4800000 | 4800000 | 0 | 0 | 0 | 0 | 4800000 | 4800000 | 실거래단가
| 안내데스크 | 6730*2200*830, 하이그로시도장 | FU-015 | EA | 1 | 9600000 | 9600000 | 0 | 0 | 0 | 0 | 9600000 | 9600000 | 실거래단가
| 계 | [5 empty] | 33952000 |  | 0 |  | 0 |  | 33952000
B | 폐기물처리비
| 혼합폐기물처리비 | 1 ton |  | 대 | 3 |  | 0 |  | 0 | 450000 | 1350000 | 450000 | 1350000 | 실거래단가
| 폐기물처리비 계 | [5 empty] | 0 |  | 0 |  | 1350000 |  | 1350000

## 수량산출서표지
GMoMA 경기도미술관 뮤지엄샵 리노베이션공사
수 량 산 출 서

## 수량산출서
구분 | 품명 | 규격 | 스펙 | 단위 | 수량 | 수량산출서 | 비고
No | DESCRIPTION | SIZE | SPEC | UNIT | Q'TY |  | NOTE
** | GMoMA 경기도미술관 뮤지엄샵 리노베이션공사
A | 인테리어공사
1. | 가설공사
| 먹매김 |  |  | M2 | 261.38 | 38.64+222.74
| 현장보양 | 플라베니어/골판지/비닐 |  | M2 | 261.38 | 38.64+222.74
| 현장정리정돈 | 준공청소포함 |  | M2 | 261.38 | 38.64+222.74
| 쌍줄비계설치 |  |  | M2 | 50 | 50
| 가설칸막이 | STUD 65T+GB 9.5T*1P+도배 |  | M2 | 76.1292 | (3.787+1.36)*3.6+19.2*3
| 가설도어 | 1800*2100 |  | EA | 1 | 1
계
2. | 철거공사
| 기존바닥면부분철거 | 몰탈철거 |  | M2 | 24.347 | (3.787+19.2+1.36)*1
| 벽체철거 |  |  | M2 | 157.716 | (19.2+9+12)*3.6+(1.8+3.9)*2.28
| 계단챌판컬러시트철거 |  |  | M2 | 11.648 | 2.08*28*0.2
| FCU철거 |  |  | EA | 9 | 9
| 시트철거 |  |  | M2 | 75.84 | 19.2*3.95
계
3. | 바닥공사
| 바닥미장 | 기존바닥면 경계구간 |  | M2 | 24.347 | (3.787+19.2+1.36)*1
| LVT 타일깔기 | 5.5T | LVT-01 | M2 | 222.74 | 222.74
계
4. | 뮤지엄 SHOP
* | 메자닌공간
- 구조보강
| 보강구조틀설치 | B-125*75*4.5T |  | M | 38.25 | 2.55*15
| 보강구조틀설치 | B-150*150*4.5T |  | M | 13.8 | 13.8
- 2층 바닥
| ST'L PLATE | 3.2T |  | M2 | 37.26 | 13.8*2.7
| 방진고무깔기 | 10T |  | M2 | 37.26 | 13.8*2.7
| 일반합판깔기 | 12T*2PLY |  | M2 | 37.26 | 13.8*2.7
| LVT 타일깔기 | 5.5T | LVT-01 | M2 | 37.26 | 13.8*2.7
- 2층 난간대
| 각파이프구조틀조성 | 1.6T ㅁ30*30 |  | M2 | 21.5832 | 13.8*(0.682+0.1+0.682+0.1)
| ST'L 난간대조성 | 1.6T 60*10*300*100*502*40 |  | M | 13.8 | 13.8
| 철부도장 |  |  | M2 | 14.0656 | 13.8*(0.06+0.01+0.3+0.1+0.502+0.04)+0.1*0.5*2
| 유리난간대 | 12T강화 H:600 |  | M | 13.8 | 13.8
- 2층 바닥하부
| 각파이프구조틀조성 | 1.6T ㅁ30*30 H:550 |  | M2 | 37.26 | 13.8*2.7
| 일반석고보드취부 | 9.5T*2PLY |  | M2 | 32.1126 | 13.8*2.327
| 천정몰딩 | AL |  | M | 19.2 | 13.8+2.7*2
| ALL PUTTY |  |  | M2 | 32.1126 | 13.8*2.327
| PAINT |  |  | M2 | 32.1126 | 13.8*2.327
| ST'L 단조성 | 1.6T 40*70*550*70*40 |  | M | 2.7 | 2.7
| ST'L 단조성 | 1.6T 40*70*R-794*70*40 |  | M | 13.8 | 13.8
| 철부도장 |  |  | M2 | 16.0722 | 13.8*(0.04+0.07+0.794+0.07+0.04)+2.7*(0.04+0.07+0.55+0.07+0.04)
- 멘자닌 루버
| ㄷ 형 앵글부속 | 1.6T 100*200*100, W:50, 도장포함 |  | EA | 165 | 3*55
| ㄷ 형 앵글부속 | 1.6T 240*200*100, W:50, 도장포함 |  | EA | 55 | 55
| ST'L 루버 - R | 1.6T ㅁ50*120 |  | M | 435.05 | (0.926+0.87+3.247+0.824+2.043)*55
| 철부도장 |  |  | M2 | 147.917 | (0.926+0.87+3.247+0.824+2.043)*(0.05+0.12)*2*55
* | 벽체공사
| 메쉬커튼 |  |  | M2 | 104.956 | 5.4*8+2.8*4.27+(2.8+13.8)*3
| METAL FABRIC |  |  | M2 | 104.956 | 5.4*8+2.8*4.27+(2.8+13.8)*3
- 안내데스크상부
| ST'L 상부구조물 |  |  | SET | 1 | 1
| 철부도장 |  |  | M2 | 10.016 | (5.4+1.3+1.675+1.49+1.696+4.294+2.375)*(0.125+0.075)*2+(2.27*2*0.15*4)
* | 천정공사
| ALL PUTTY |  |  | M2 | 222.74 | 222.74
| PAINT | 계단하부포함 |  | M2 | 222.74 | 222.74
| 스프링쿨러높이변경 |  |  | EA | 15 | 15
계
5. | 가구공사
* | 뮤지엄샵가구
| 책장 | 1200*400*1600, 하이그로시도장 | FU-001 | EA | 6 | 6
| 테이블 | 1200*1000*500, 하이그로시도장 | FU-002 | EA | 3 | 3
| 원형테이블 | Φ800*H:400, 하이그로시도장 | FU-003 | EA | 1 | 1
| 원형테이블 | Φ1200*H:400, 하이그로시도장 | FU-003 | EA | 1 | 1
| 원형테이블 | Φ1600*H:300, 하이그로시도장 | FU-003 | EA | 1 | 1
| 박스테이블 | 1800*600*500, 하이그로시도장 | FU-004 | EA | 2 | 2
| 미니테이블 | 340*340*340, 하이그로시도장 | FU-004 | EA | 4 | 4
| 사각테이블 | 1500*600*900, 하이그로시도장 | FU-005 | EA | 2 | 2
| D/P 판넬 | W:600*H:300, SUS H/L | FU-005 | EA | 3 | 3
| 곡선테이블 | 1500*600*900, 하이그로시도장 | FU-006 | EA | 2 | 2
| 타공테이블 | 1500*600*770, 하이그로시도장 | FU-007 | EA | 2 | 2
| 타공 D/P 판넬 | W:250*H:600, SUS H/L | FU-007 | EA | 6 | 6
| 하부장 | 1440*600*400, 하이그로시도장 | FU-008 | EA | 2 | 2
| 타공박스 | 2000*600*1200, 하이그로시도장+타공판넬 | FU-009 | EA | 1 | 1
| 테이블-1 | 1200*1000*450, 하이그로시도장 | FU-010 | EA | 2 | 2
| 테이블-2 | 800*600*250, 하이그로시도장 | FU-011 | EA | 2 | 2
| 사각부스 | 1200*1200*1200, SUS H/L | FU-012 | EA | 3 | 3
| 하부장 | 1200*1200*300, 하이그로시도장 | FU-013 | EA | 3 | 3
| 카운터 & 쇼케이스 | 4200*634*900, 하이그로시도장+유리+SUS H/L | FU-014 | EA | 1 | 1
| 안내데스크 | 6730*2200*830, 하이그로시도장 | FU-015 | EA | 1 | 1
계
B | 폐기물처리비
| 혼합폐기물처리비 | 1 ton |  | 대 | 3 | 3
폐기물처리비 계

## 일위대가표지
GMoMA 경기도미술관 뮤지엄샵 리노베이션공사
일 위 대 가 표

## 일위대가집계표
일위대가 집계표
공사명 : GMoMA 경기도미술관 뮤지엄샵 리노베이션공사
코 드 | 품 명 | 규 격 | SPEC | 단 위 | 재 료 비 | 노 무 비 | 경 비 | 합 계 | 비 고
1 | 먹메김 | 0 |  | M2 | 0 | 878 | 0 | 878 | 표준품셈 건축 11-1
2 | 현장보양 | 플라베니어/골판지/비닐 |  | M2 | 564 | 1098 | 0 | 1662 | 표준품셈 토목 2-9
3 | 현장정리정돈 | 준공청소포함 |  | M2 | 0 | 10981 | 0 | 10981 | 표준품셈 토목 2-10
4 | 잡철물제작설치 | 0 |  | KG |  |  |  | 0 | 표준품셈 건축 14-5
5 | ST'L 난간대조성 | 1.6T 60*10*300*100*502*40 |  | M | 14067 | 58079 | 1876 | 74022 | 표준품셈 건축 14-5
6 | 각파이프구조틀조성 | 1.6T ㅁ30*30 |  | M2 | 6465 | 27587 | 891 | 34943 | 표준품셈 건축 14-5
7 | 각파이프구조틀조성 | 1.6T ㅁ30*30 H:550 |  | M2 | 10025 | 42779 | 1382 | 54186 | 표준품셈 건축 14-5
8 | ST'L 단조성 | 1.6T 40*70*550*70*40 |  | M | 10702 | 44191 | 1427 | 56320 | 표준품셈 건축 14-5
9 | ST'L 단조성 | 1.6T 40*70*R-794*70*40 |  | M | 14094 | 58194 | 1880 | 74168 | 표준품셈 건축 14-5
10 | 조합페인트 | 철재면 |  | M2 | 1503 | 10591 | 0 | 12094 | 표준품셈 건축 17-3-1
11 | ALL PUTTY | 0 |  | M2 | 1848 | 7075 | 0 | 8923 | 표준품셈 건축 17-1-2
12 | PAINT | 0 |  | M2 | 5999 | 1116 | 0 | 7115 | 표준품셈 건축 17-2-3
13 | 엔진식도장기의 운전경비 | 0 |  | 시간(ℓ/MIN) | 1398 | 0 | 0 | 1398 | 0
14 | 일반합판깔기 | 12T*2PLY |  | M2 | 19303 | 22408 | 0 | 41711 | 표준품셈 건축 11-1-3-3
15 | ST'L 루버 - R | 1.6T ㅁ50*120 |  | M | 4790 | 23092 | 746 | 28628 | 표준품셈 건축 14-5
16 | 방진고무깔기 | 10T | 0 | M2 | 92 | 89 | 0 | 181 | 표준품셈 건축 11-2-1
17 | ST'L 상부구조물 | 0 | 0 | SET | 296864 | 1484000 | 47951 | 1828815 | 표준품셈 건축 14-5
18 | ㄷ 형 앵글부속 | 1.6T 100*200*100, W:50, 도장포함 | 0 | EA | 337 | 1570 | 37 | 1944 | 표준품셈 건축 14-5
19 | ㄷ 형 앵글부속 | 1.6T 240*200*100, W:50, 도장포함 | 0 | EA | 455 | 2120 | 50 | 2625 | 표준품셈 건축 14-5
20 | 가설칸막이 | STUD 65T+GB 9.5T*1P+도배 |  | M2 | 15632 | 26869 | 0 | 42501 | 표준품셈 건축 14-5
21 | 바닥미장 | 기존바닥면 경계구간 |  | M2 | 4817 | 3624 | 0 | 8441 | 0
22 | 보강구조틀설치 | B-125*75*4.5T |  | M | 12305 | 58832 | 1901 | 73038 | 표준품셈 건축 14-5
23 | 보강구조틀설치 | B-150*150*4.5T |  | M | 18952 | 90633 | 2928 | 112513 | 표준품셈 건축 14-5
24 | ST'L PLATE | 3.2T |  | M2 | 25488 | 120775 | 3902 | 150165 | 표준품셈 건축 14-5
25 | 천정몰딩 | AL |  | M | 2079 | 5787 | 0 | 7866 | 표준품셈 건축 14-5
26 | 일반석고보드취부 | 9.5T*2PLY |  | M2 | 6114 | 13602 | 0 | 19716 | 표준품셈 건축 11-3-1-2
27 | 기존바닥면부분철거 | 몰탈철거 | 0 | M2 | 0 | 13178 | 0 | 13178 | 표준품셈 건축 18-1-1
28 | 벽체철거 | 전시부스 및 뮤지엄샵 등 | 0 | M2 | 0 | 9621 | 0 | 9621 | 0
29 | 계단챌판컬러시트철거 | 0 | 0 | M2 | 0 | 1098 | 0 | 1098 | 표준품셈 건축 18-1-1
30 | FCU철거 | 0 | 0 | EA | 0 | 10981 | 0 | 10981 | 표준품셈 건축 18-1-1
31 | 스프링쿨러높이변경 | 0 | 0 | EA | 24500 | 24890 | 0 | 49390 | 0
[9 empty] | #REF! |  | #REF!
[10 empty] | #REF! | #REF!
[9 empty] | #REF! |  | #REF!
[10 empty] | #REF! | #REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
[9 empty] | #REF! |  | #REF!
[10 empty] | #REF! | #REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
[9 empty] | #REF! |  | #REF!
[10 empty] | #REF! | #REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
[9 empty] | #REF! |  | #REF!
[10 empty] | #REF! | #REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
[9 empty] | #REF! |  | #REF!
[10 empty] | #REF! | #REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
[9 empty] | #REF! |  | #REF!
[10 empty] | #REF! | #REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
[9 empty] | #REF! |  | #REF!
[10 empty] | #REF! | #REF!

## 일위대가
일 위 대 가 표
| 항 목 번 호 : | 1
| 공 종 ; | 먹메김 | [6 empty] | 표준품셈 건축 11-1
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 0 |  | 878 |  | 0 | 878
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 건축목공 |  | 0.005 | 인 |  | 0 | 175760 | 878 |  | 0 | 조사-003
| 소 계 |  |  |  |  | 0 |  | 878 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 2
| 공 종 ; | 현장보양 | 플라베니어/골판지/비닐 | [5 empty] | 표준품셈 토목 2-9
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 564 |  | 1098 |  | 0 | 1662
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 하드롱지 |  | 1.2 | M2 | 430 | 516 |  | 0 |  | 0 | 조사-015
| 풀 |  | 0.06 | KG | 800 | 48 |  | 0 |  | 0 | 조사-016
| 보통인부 |  | 0.01 | 인 |  | 0 | 109819 | 1098 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 564 |  | 1098 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 3
| 공 종 ; | 현장정리정돈 | 준공청소포함 | [5 empty] | 표준품셈 토목 2-10
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 0 |  | 10981 |  | 0 | 10981
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 보통인부 |  | 0.1 | 인 |  | 0 | 109819 | 10981 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 0 |  | 10981 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 4
| 공 종 ; | 잡철물제작설치 | [6 empty] | 표준품셈 건축 14-5
| 단 위 ; | KG |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 0 |  | 0 |  | 0 | 0
| 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
[5 empty] | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 용접봉 | 산소KSE 4301 3.2mm | 0.01848 | KG | 2280 | 42 |  | 0 |  | 0 | 조사-013
| 산소 |  | 6.3 | ℓ | 2.7083 | 17 |  | 0 |  | 0 | 조사-011
| 아세틸렌 |  | 0.0028 | ㎏ | 13000 | 36 |  | 0 |  | 0 | 조사-012
| 용접기손료 | AMP-500교류 | 0.02083 | HR |  | 0 |  | 0 | 124 | 2 | 거래가격-1498P
| 전력량 |  | 0.126 | KWH |  | 0 |  | 0 | 92.3 | 11 | 거래가격-1468P
| 철공 |  | 0.02765 | 인 |  | 0 | 170500 | 4714 |  | 0 | 조사-005
| 보통인부 |  | 0.00066 | 인 |  | 0 | 109819 | 72 |  | 0 | 조사-001
| 용접공 |  | 0.0026 | 인 |  | 0 | 169201 | 439 |  | 0 | 조사-004
| 특별인부 |  | 0.00074 | 인 |  | 0 | 133417 | 98 |  | 0 | 조사-002
| 공구손료 | 노무비의3% | 1 | 식 |  | 0 |  | 0 | 159.69 | 159
| 소 계 | 간단 |  |  |  | 95 |  | 5323 |  | 172
|  | 보통 |  |  |  | 114 |  | 6387.6 |  | 206.4
|  | 복잡 |  |  |  | 133 |  | 7452.2 |  | 240.8
일 위 대 가 표
| 항 목 번 호 : | 5
| 공 종 ; | ST'L 난간대조성 | 1.6T 60*10*300*100*502*40 | [5 empty] | 표준품셈 건축 14-5
| 단 위 ; | M |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 14067 |  | 58079 |  | 1876 | 74022
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| ST'L PLATE | 1.6T | 1.1132 | M2 | 11706 | 13031 |  | 0 |  | 0 | 조사-020
| 잡철물 제작 설치 | 간단 | 10.9111 | KG | 95 | 1036 | 5323 | 58079 | 172 | 1876 | 4
| 소 계 |  |  |  |  | 14067 |  | 58079 |  | 1876
일 위 대 가 표
| 항 목 번 호 : | 6
| 공 종 ; | 각파이프구조틀조성 | 1.6T ㅁ30*30 | [5 empty] | 표준품셈 건축 14-5
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 6465 |  | 27587 |  | 891 | 34943
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 각파이프 | 30*30 1.6T | 4.6667 | M | 1280 | 5973 |  | 0 |  | 0 | 조사-021
| 잡철물 제작 설치 | 간단 | 5.1827 | KG | 95 | 492 | 5323 | 27587 | 172 | 891 | 4
| 소 계 |  |  |  |  | 6465 |  | 27587 |  | 891
일 위 대 가 표
| 항 목 번 호 : | 7
| 공 종 ; | 각파이프구조틀조성 | 1.6T ㅁ30*30 H:550 | [5 empty] | 표준품셈 건축 14-5
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 10025 |  | 42779 |  | 1382 | 54186
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 각파이프 | 30*30 1.6T | 7.2365 | M | 1280 | 9262 |  | 0 |  | 0 | 조사-021
| 잡철물 제작 설치 | 간단 | 8.0367 | KG | 95 | 763 | 5323 | 42779 | 172 | 1382 | 4
| 소 계 |  |  |  |  | 10025 |  | 42779 |  | 1382
일 위 대 가 표
| 항 목 번 호 : | 8
| 공 종 ; | ST'L 단조성 | 1.6T 40*70*550*70*40 | [5 empty] | 표준품셈 건축 14-5
| 단 위 ; | M |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 10702 |  | 44191 |  | 1427 | 56320
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| ST'L PLATE | 1.6T | 0.847 | M2 | 11706 | 9914 |  | 0 |  | 0 | 조사-020
| 잡철물 제작 설치 | 간단 | 8.3019 | KG | 95 | 788 | 5323 | 44191 | 172 | 1427 | 4
| 소 계 |  |  |  |  | 10702 |  | 44191 |  | 1427
일 위 대 가 표
| 항 목 번 호 : | 9
| 공 종 ; | ST'L 단조성 | 1.6T 40*70*R-794*70*40 | [5 empty] | 표준품셈 건축 14-5
| 단 위 ; | M |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 14094 |  | 58194 |  | 1880 | 74168
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| ST'L PLATE | 1.6T | 1.1154 | M2 | 11706 | 13056 |  | 0 |  | 0 | 조사-020
| 잡철물 제작 설치 | 간단 | 10.9327 | KG | 95 | 1038 | 5323 | 58194 | 172 | 1880 | 4
| 소 계 |  |  |  |  | 14094 |  | 58194 |  | 1880
일 위 대 가 표
| 항 목 번 호 : | 10
| 공 종 ; | 조합페인트 | 철재면 | [5 empty] | 표준품셈 건축 17-3-1
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 1503 |  | 10591 |  | 0 | 12094
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 조합페인트 | 3회 | 0.25092 | ℓ | 5794.4444 | 1453 |  | 0 |  | 0 | 조사-024
| 시너 |  | 0.012 | ℓ | 2711.1111 | 32 |  | 0 |  | 0 | 조사-023
| 도장공 |  | 0.02 | 인 |  | 0 | 153890 | 3077 |  | 0 | 조사-006
| 보통인부 |  | 0.004 | 인 |  | 0 | 109819 | 439 |  | 0 | 조사-001
| ALL PUTTY |  | 1 | M2 | 1848 | 18 | 7075 | 7075 | 0 | 0 | 일위-15
| 소 계 |  |  |  |  | 1503 |  | 10591 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 11
| 공 종 ; | ALL PUTTY | [6 empty] | 표준품셈 건축 17-1-2
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 1848 |  | 7075 |  | 0 | 8923
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| F-Tape | 35~100mm | 1.52 | m | 73 | 110 | 0 | 0 |  | 0
| 휠러 |  | 0.325 | kg | 1150 | 373 | 0 | 0 |  | 0
| 퍼티,PUTTY | 319퍼티, 백색 | 0.667 | kg | 1993.54 | 1329 | 0 | 0 |  | 0
| 연마지 | 연마지, #120~180, 230*280 | 0.18 | 매 | 200 | 36 | 0 | 0 |  | 0
| 노무비 | 도장공 | 0.045 | 인 | 0 |  | 122128 | 5495 |  | 0
| 노무비 | 보통인부 | 0.018 | 인 | 0 |  | 87805 | 1580
| 소 계 |  |  |  |  | 1848 |  | 7075 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 12
| 공 종 ; | PAINT | [6 empty] | 표준품셈 건축 17-2-3
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 5999 |  | 1116 |  | 0 | 7115
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 합성수지에멀션페인트 |  | 2.56 | ℓ | 2316.6667 | 5930 |  | 0 |  | 0 | 조사-029
| 도장공 |  | 0.0054 | 인 |  | 0 | 153890 | 831 |  | 0 | 조사-006
| 보통인부 |  | 0.0026 | 인 |  | 0 | 109819 | 285 |  | 0 | 조사-001
| 엔진식도장기 | 4.7ℓ/MIN | 0.05 | 시간 | 1398 | 69 |  | 0 |  | 0 | 13
| 소 계 |  |  |  |  | 5999 |  | 1116 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 13
| 공 종 ; | 엔진식도장기의 운전경비
| 단 위 ; | 시간(ℓ/MIN) |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 1398 |  | 0 |  | 0 | 1398
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 휘발유 |  | 0.72 | ℓ | 1618.85 | 1165 |  | 0 |  | 0 | 조사-014
| 잡품 | 주연료비의20% | 1 | 식 | 233 | 233 |  | 0 |  | 0
| 소 계 |  |  |  |  | 1398 |  | 0 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 14
| 공 종 ; | 일반합판깔기 | 12T*2PLY | [5 empty] | 표준품셈 건축 11-1-3-3
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 19303 |  | 22408 |  | 0 | 41711
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 일반합판 | 12MM | 2.1 | M2 | 8566 | 17988 |  | 0 |  | 0 | 조사-030
| 접착제 |  | 0.54 | KG | 2437 | 1315 |  | 0 |  | 0 | 조사-018
| 건축목공 |  | 0.12 | 인 |  | 0 | 175760 | 21091 |  | 0 | 조사-003
| 보통인부 |  | 0.012 | 인 |  | 0 | 109819 | 1317 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 19303 |  | 22408 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 15
| 공 종 ; | ST'L 루버 - R | 1.6T ㅁ50*120 | [5 empty] | 표준품셈 건축 14-5
| 단 위 ; | M |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 4790 |  | 23092 |  | 746 | 28628
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| ST'L PLATE | 1.6T | 0.374 | M2 | 11706 | 4378 |  | 0 |  | 0 | 조사-020
| 잡철물 제작 설치 | 간단 | 4.3382 | KG | 95 | 412 | 5323 | 23092 | 172 | 746 | 4
| 소 계 |  |  |  |  | 4790 |  | 23092 |  | 746
일 위 대 가 표
| 항 목 번 호 : | 16
| 공 종 ; | 방진고무깔기 | 10T | [5 empty] | 표준품셈 건축 11-2-1
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 92 |  | 89 |  | 0 | 181
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 방진고무 | 10T | 0.029167 | M2 | 3000 | 87 |  | 0 |  | 0 | 조사-031
| 접착제 |  | 0.0035 | KG | 1555 | 5 |  | 0 |  | 0 | 조사-019
| 내장공 |  | 0.00035 | 인 |  | 0 | 165367 | 57 |  | 0 | 조사-007
| 보통인부 |  | 0.00029167 | 인 |  | 0 | 109819 | 32 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 92 |  | 89 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 17
| 공 종 ; | ST'L 상부구조물 | [6 empty] | 표준품셈 건축 14-5
| 단 위 ; | SET |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 296864 |  | 1484000 |  | 47951 | 1828815
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 구조용각관 | B-125*75*4.5T | 18.23 | M | 10720 | 195425 |  | 0 |  | 0 | 조사-043
| 잡철물 제작 설치 | 간단 | 201.4889 | KG | 95 | 19141 | 5323 | 1072525 | 172 | 34656 | 4
| 구조용각관 | B-150*150*4.5T | 4.54 | M | 16510 | 74955 |  | 0 |  | 0 | 조사-044
| 잡철물 제작 설치 | 간단 | 77.3014 | KG | 95 | 7343 | 5323 | 411475 | 172 | 13295 | 4
| 소 계 |  |  |  |  | 296864 |  | 1484000 |  | 47951
일 위 대 가 표
| 항 목 번 호 : | 18
| 공 종 ; | ㄷ 형 앵글부속 | 1.6T 100*200*100, W:50, 도장포함 | [5 empty] | 표준품셈 건축 14-5
| 단 위 ; | EA |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 337 |  | 1570 |  | 37 | 1944
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| ST'L PLATE | 1.6T | 0.022 | M2 | 11706 | 257 |  | 0 |  | 0 | 조사-020
| 잡철물 제작 설치 | 간단 | 0.21563 | KG | 95 | 20 | 5323 | 1147 | 172 | 37 | 4
| 철부도장 |  | 0.04 | M2 | 1503 | 60 | 10591 | 423 | 0 | 0 | 10
| 소 계 |  |  |  |  | 337 |  | 1570 |  | 37
일 위 대 가 표
| 항 목 번 호 : | 19
| 공 종 ; | ㄷ 형 앵글부속 | 1.6T 240*200*100, W:50, 도장포함 | [5 empty] | 표준품셈 건축 14-5
| 단 위 ; | EA |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 455 |  | 2120 |  | 50 | 2625
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| ST'L PLATE | 1.6T | 0.0297 | M2 | 11706 | 347 |  | 0 |  | 0 | 조사-020
| 잡철물 제작 설치 | 간단 | 0.29111 | KG | 95 | 27 | 5323 | 1549 | 172 | 50 | 4
| 철부도장 |  | 0.054 | M2 | 1503 | 81 | 10591 | 571 | 0 | 0 | 10
| 소 계 |  |  |  |  | 455 |  | 2120 |  | 50
일 위 대 가 표
| 항 목 번 호 : | 20
| 공 종 ; | 가설칸막이 | STUD 65T+GB 9.5T*1P+도배 | [5 empty] | 표준품셈 건축 14-5
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 15632 |  | 26869 |  | 0 | 42501
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 메탈스터드 | 65*45*0.8 | 2.33 | M | 2580 | 6011 |  | 0 |  | 0 | 조사-035
| 메탈러너 | 67*40*0.8 | 0.68 | M | 2120 | 1441 |  | 0 |  | 0 | 조사-036
| 나사 | 65MM | 24 | EA | 55 | 1320 |  | 0 |  | 0 | 조사-037
| HILTI PIN | DN-350 | 8 | SET | 55 | 440 |  | 0 |  | 0 | 조사-038
| 용접봉 | 3.2M/M | 0.16 | KG | 2280 | 364 |  | 0 |  | 0 | 조사-013
| 내장공 |  | 0.06 | 인 |  | 0 | 165367 | 9922 |  | 0 | 조사-007
| 보통인부 |  | 0.034 | 인 |  | 0 | 109819 | 3733 |  | 0 | 조사-001
| 일반석고보드 | 9.5T | 1.05 | M2 | 2407.4074 | 2527 |  | 0 |  | 0 | 조사-033
| 석고본드 |  | 1.215 | KG | 436 | 529 |  | 0 |  | 0 | 조사-017
| 내장공 |  | 0.033 | 인 |  | 0 | 165367 | 5457 |  | 0 | 조사-007
| 보통인부 |  | 0.016 | 인 |  | 0 | 109819 | 1757 |  | 0 | 조사-001
| 도배공사 |  | 1 | M2 | 3000 | 3000 | 6000 | 6000 |  | 0
| 소 계 |  |  |  |  | 15632 |  | 26869 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 21
| 공 종 ; | 바닥미장 | 기존바닥면 경계구간
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 4817 |  | 3624 |  | 0 | 8441
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 시멘트 |  | 25.5 | KG | 135 | 3442 |  | 0 |  | 0 | 조사-039
| 모래 |  | 0.055 | M3 | 25000 | 1375 |  | 0 |  | 0 | 조사-040
| 보통인부 |  | 0.033 | 인 |  | 0 | 109819 | 3624 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 4817 |  | 3624 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 22
| 공 종 ; | 보강구조틀설치 | B-125*75*4.5T | [5 empty] | 표준품셈 건축 14-5
| 단 위 ; | M |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 12305 |  | 58832 |  | 1901 | 73038
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 구조용각관 | B-125*75*4.5T | 1.05 | M | 10720 | 11256 |  | 0 |  | 0 | 조사-043
| 잡철물 제작 설치 | 간단 | 11.0526 | KG | 95 | 1049 | 5323 | 58832 | 172 | 1901 | 4
| 소 계 |  |  |  |  | 12305 |  | 58832 |  | 1901
일 위 대 가 표
| 항 목 번 호 : | 23
| 공 종 ; | 보강구조틀설치 | B-150*150*4.5T | [5 empty] | 표준품셈 건축 14-5
| 단 위 ; | M |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 18952 |  | 90633 |  | 2928 | 112513
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 구조용각관 | B-150*150*4.5T | 1.05 | M | 16510 | 17335 |  | 0 |  | 0 | 조사-044
| 잡철물 제작 설치 | 간단 | 17.0267 | KG | 95 | 1617 | 5323 | 90633 | 172 | 2928 | 4
| 소 계 |  |  |  |  | 18952 |  | 90633 |  | 2928
일 위 대 가 표
| 항 목 번 호 : | 24
| 공 종 ; | ST'L PLATE | 3.2T | [5 empty] | 표준품셈 건축 14-5
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 25488 |  | 120775 |  | 3902 | 150165
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 체크플레이트 | 3.2T | 29.5364 | KG | 790 | 23333 |  | 0 |  | 0 | 조사-045
| 잡철물 제작 설치 | 간단 | 22.6894 | KG | 95 | 2155 | 5323 | 120775 | 172 | 3902 | 4
| 소 계 |  |  |  |  | 25488 |  | 120775 |  | 3902
일 위 대 가 표
| 항 목 번 호 : | 25
| 공 종 ; | 천정몰딩 | AL | [5 empty] | 표준품셈 건축 14-7
| 단 위 ; | M |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 2079 |  | 5787 |  | 0 | 7866
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| AL 몰딩 |  | 1.1 | M | 1890 | 2079 |  | 0 |  | 0 | 조사-032
| 내장공 |  | 0.035 | 인 |  | 0 | 165367 | 5787 |  | 0 | 조사-007
| 소 계 |  |  |  |  | 2079 |  | 5787 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 26
| 공 종 ; | 일반석고보드취부 | 9.5T*2PLY | [5 empty] | 표준품셈 건축 11-3-1-2
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 6114 |  | 13602 |  | 0 | 19716
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 일반석고보드 | 9.5T | 2.1 | M2 | 2407.4074 | 5055 |  | 0 |  | 0 | 조사-033
| 석고본드 |  | 2.43 | KG | 436 | 1059 |  | 0 |  | 0 | 조사-017
| 내장공 |  | 0.063 | 인 |  | 0 | 165367 | 10418 |  | 0 | 조사-007
| 보통인부 |  | 0.029 | 인 |  | 0 | 109819 | 3184 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 6114 |  | 13602 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 27
| 공 종 ; | 기존바닥면부분철거 | 몰탈철거 | [5 empty] | 표준품셈 건축 18-1-1
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 0 |  | 13178 |  | 0 | 13178
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 보통인부 |  | 0.12 | 인 |  | 0 | 109819 | 13178 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 0 |  | 13178 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 28
| 공 종 ; | 벽체철거 | 전시부스 및 뮤지엄샵 등 | [5 empty] | 표준품셈 건축 18-1-1
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 0 |  | 9621 |  | 0 | 9621
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 건축목공 |  | 0.036 | 인 |  | 0 | 175760 | 6327 |  | 0 | 조사-003
| 보통인부 |  | 0.03 | 인 |  | 0 | 109819 | 3294 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 0 |  | 9621 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 29
| 공 종 ; | 계단챌판컬러시트철거 | [6 empty] | 표준품셈 건축 18-1-1
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 0 |  | 1098 |  | 0 | 1098
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 보통인부 |  | 0.01 | 인 |  | 0 | 109819 | 1098 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 0 |  | 1098 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 30
| 공 종 ; | FCU철거 | [6 empty] | 표준품셈 건축 18-1-1
| 단 위 ; | EA |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 0 |  | 10981 |  | 0 | 10981
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 보통인부 |  | 0.1 | 인 |  | 0 | 109819 | 10981 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 0 |  | 10981 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 31
| 공 종 ; | 스프링쿨러높이변경
| 단 위 ; | EA |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 24500 |  | 24890 |  | 0 | 49390
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 스프링클러헤드 | 72C, 플러쉬형 | 1 | EA | 6500 | 6500 |  | 0 |  | 0 | 조사-041
| 스프링클러헤드 조인트배관 |  | 3 | M | 6000 | 18000 |  | 0 |  | 0 | 조사-042
| 배관공 |  | 0.129 | 인 |  | 0 | 148689 | 19180 |  | 0 | 조사-008
| 보통인부 |  | 0.052 | 인 |  | 0 | 109819 | 5710 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 24500 |  | 24890 |  | 0

## 단가조사표표지
GMoMA 경기도미술관 뮤지엄샵 리노베이션공사
단 가 조 사 표

## 단가조사표
단가조사표
공사명 : GMoMA 경기도미술관 뮤지엄샵 리노베이션공사
코 드 | 품 명 | 규격 | SPEC | 단위 | 노무비 |  |  |  |  | 자재비 | [8 empty] | 비 고
[5 empty] | 2018년 상반기 |  | 조사가격 |  | 적용단가 | 물가자료 |  | 물가정보 |  | 거래가격 |  | 조사가격 |  | 적용단가
[5 empty] | 단 가 | PAGE | A 업체 | B 업체 |  | 단 가 | PAGE | 단 가 | PAGE | 단 가 | PAGE | A 업체 | B 업체
[노무비] | 2018년 상반기
조사-001 | 보통인부 |  |  | 인 | 109819 |  |  |  | 109819 | [8 empty] | 109819
조사-002 | 특별인부 |  |  | 인 | 133417 |  |  |  | 133417 | [8 empty] | 133417
조사-003 | 건축목공 |  |  | 인 | 175760 |  |  |  | 175760 | [8 empty] | 175760
조사-004 | 용접공 |  |  | 인 | 169201 |  |  |  | 169201 | [8 empty] | 169201
조사-005 | 철공 |  |  | 인 | 170500 |  |  |  | 170500 | [8 empty] | 170500
조사-006 | 도장공 |  |  | 인 | 153890 |  |  |  | 153890 | [8 empty] | 153890
조사-007 | 내장공 |  |  | 인 | 165367 |  |  |  | 165367 | [8 empty] | 165367
조사-008 | 배관공 |  |  | 인 | 148689 |  |  |  | 148689 | [8 empty] | 148689
조사-009 | 유리공 |  |  | 인 | 155803 |  |  |  | 155803 | [8 empty] | 155803
조사-010 | 코킹공 |  |  | 인 | 149882 |  |  |  | 149882 | [8 empty] | 149882
[자재비]
조사-011 | 산소 |  |  | ℓ |  |  |  |  | 0 | 3.125 | 33(하) | 2.7083 | 885(Ⅱ) | 2.7083 | 1435 |  |  | 2.7083
조사-012 | 아세틸렌 |  |  | KG |  |  |  |  | 0 | 17000 | 33(하) | 13000 | 885(Ⅱ) | 13200 | 1435 |  |  | 13000
조사-013 | 용접봉 | 3.2M/M |  | KG |  |  |  |  | 0 | 3100 | 1395 | 2520 | 570(Ⅰ) | 2280 | 1310 |  |  | 2280
조사-014 | 휘발유 | 공업용 |  | ℓ |  |  |  |  | 0 | 1993 | 32(하) | 1618.85 | 884(Ⅱ) | 1676 | 1435 |  |  | 1618.85
조사-015 | 하드롱지 |  |  | M2 |  |  |  |  | 0 |  |  |  |  | 430 | 640 |  |  | 430
조사-016 | 풀 |  |  | KG |  |  |  |  | 0 |  |  |  |  | 800 | 640 |  |  | 800
조사-017 | 석고본드 |  |  | KG |  |  |  |  | 0 | 436 | 698 | 456 | 353(Ⅱ) | 460 | 625 |  |  | 436
조사-018 | 접착제 | 목재용 |  | KG |  |  |  |  | 0 | 2437 | 109 | 2437 | 135(Ⅱ) |  |  |  |  | 2437
조사-019 | 접착제 | 비닐타일용 |  | KG |  |  |  |  | 0 | 1555 | 109 | 1555 | 135(Ⅱ) |  |  |  |  | 1555
조사-020 | ST'L PLATE | 1.6T |  | M2 |  |  |  |  | 0 | 11706 | 54 | 19654.321 | 85(Ⅱ) | 16665 | 48 |  |  | 11706
조사-021 | 각파이프 | 1.6T ㅁ30*30 |  | M |  |  |  |  | 0 | 1280 | 65 |  |  | 1820 | 57 |  |  | 1280
조사-022 | 각파이프 | 2.3T ㅁ50*50 |  | M |  |  |  |  | 0 | 2920 | 65 |  |  | 4440 | 57 |  |  | 2920
조사-023 | 시너 |  |  | ℓ |  |  |  |  | 0 | 2711.1111 | 617 | 3583.3333 | 254(Ⅱ) | 3579.4444 | 572 |  |  | 2711.1111
조사-024 | 조합페인트 |  |  | ℓ |  |  |  |  | 0 | 5877.7778 | 629 | 5816.6667 | 254(Ⅱ) | 5794.4444 | 572 |  |  | 5794.4444
조사-025 | F-TAPE |  |  | M |  |  |  |  | 0 |  |  |  |  | 75 | 1349 |  |  | 75
조사-026 | 힐러 |  |  | KG |  |  |  |  | 0 | [6 empty] | 1050 |  | 1050
조사-027 | 연마지 | #120 |  | 매 |  |  |  |  | 0 | 260 | 1420 | 319 | 605(Ⅰ) | 230 | 1321 |  |  | 230
조사-028 | 퍼티 | 319퍼티 배색 |  | KG |  |  |  |  | 0 | 3833.3333 | 636 | 4125 | 259(Ⅱ) |  |  |  |  | 3833.3333
조사-029 | 합성수지에멀션페인트 |  |  | ℓ |  |  |  |  | 0 | 2316.6667 | 628 | 2544.4444 | 254(Ⅱ) | 4844.4444 | 572 |  |  | 2316.6667
조사-030 | 합판 | 12MM 4"*8" |  | M2 |  |  |  |  | 0 | 8566 | 693 | 9584 | 352(Ⅱ) | 9775 | 621 |  |  | 8566
조사-031 | 방진고무 | 10T |  | M2 |  |  |  |  | 0 | [6 empty] | 3000 |  | 3000
조사-032 | AL 몰딩 |  |  | M |  |  |  |  | 0 | 1890 | 543 | 1950 | 418(Ⅱ) |  |  |  |  | 1890
조사-033 | 일반석고보드 | 9.5T |  | M2 |  |  |  |  | 0 | 2407.4074 | 698 | 2592.5926 | 353(Ⅱ) | 2580.2469 | 624 |  |  | 2407.4074
조사-034 | 일반석고보드 | 12.5T |  | M2 |  |  |  |  | 0 | 3271.6049 | 698 | 3518.5185 | 353(Ⅱ) | 3469.1358 | 624 |  |  | 3271.6049
조사-035 | 메탈스터드 | 65*45*0.8 |  | M |  |  |  |  | 0 | 2580 | 543 | 2600 | 418(Ⅱ) | 2580 | 688 |  |  | 2580
조사-036 | 메탈러너 | 67*40*0.8 |  | M |  |  |  |  | 0 | 2140 | 543 | 2120 | 418(Ⅱ) | 2140 | 688 |  |  | 2120
조사-037 | 나사 | 65MM |  | EA |  |  |  |  | 0 | 55 | 95 | 65 | 112(Ⅱ) |  |  |  |  | 55
조사-038 | HILTI PIN | NK 32S12 |  | 발 |  |  |  |  | 0 | [6 empty] | 55 |  | 55
조사-039 | 시멘트 |  |  | KG |  |  |  |  | 0 | 137.5 | 106 | 135 | 134(Ⅱ) | 140 | 93 |  |  | 135
조사-040 | 모래 |  |  | M3 |  |  |  |  | 0 | 25000 | 103 | 28000 | 130(Ⅱ) | 29000 | 92 |  |  | 25000
조사-041 | 스프링클러헤드 | 72C, 플러쉬형 |  | EA |  |  |  |  | 0 | [6 empty] | 6500 |  | 6500
조사-042 | 스프링클러헤드 조인트배관 |  |  | 대 |  |  |  |  | 0 | [6 empty] | 6000 |  | 6000
조사-043 | 구조용각관 | B-125*75*4.5T |  | M |  |  |  |  | 0 | 10720 | 64 |  |  | 12470 | 56 |  |  | 10720
조사-044 | 구조용각관 | B-150*150*4.5T |  | M |  |  |  |  | 0 | 16510 | 64 |  |  | 19510 | 56 |  |  | 16510
조사-045 | 체크플레이트 | 3.2T |  | KG |  |  |  |  | 0 | 790 | 58 | [6 empty] | 790