## 날인 (hidden)
도 급 내 역 서
1. | 공사명 | : | 연세대학교 국제캠퍼스 1-2단계 건립공사
2. | 공사기간 | : | 自 2011년 08월 일 착공 후
至 2013년 02월 28일 ( 19 개월간 )
3. | 총액 | : | 일금 일천이백이십일억삼천삼백구십오만이천오백육십이 원정(VAT 포함)
122133952562
4. | 내역별첨 | : | 공사비 내역서
위와 같이 공사비 내역서를 제출하나이다.
|  |  | "갑" | "을"
|  |  | 인천광역시 연수구 송도동 162-1 | 서울특별시 종로구 신문로1가 57
|  |  | 송도국제화복합단지개발㈜ | 상호 : (주) 대우건설
|  |  | 대표이사 : (인) | 대표이사 : 서 종 욱 (인)
송도국제화복합단지개발(주) 귀중

## 원가계산서 (hidden)
공사비 집계표
공사명 : 연세대학교 국제캠퍼스 1-2단계 건립공사
NO | 명 칭 | 구 분 |  | 단위 | 수량 | 재료비 | 노무비 | 경비 | 합계 | 비 고
1 | 건축공사 |  |  | 식 | 1 | 31872339129 | 14622019594 | 2660158622 | 49154517345
2 | 토목공사 |  |  | 식 | 1 | 1486474196 | 239874974 | 180660327 | 1907009497
3 | 조경공사 |  |  | 식 | 1 | 3381483491 | 789435010 | 66280520 | 4237199021
4 | 기계설비공사 |  |  | 식 | 1 | 20297240574 | 6527087760 |  | 26824328334
5 | 전기설비공사 |  |  | 식 | 1 | 12204687157 | 1801923393 |  | 14006610550
6 | 통신설비공사 |  |  | 식 | 1 | 5826823865 | 988075656 |  | 6814899521
7 | 소방공사 |  |  | 식 | 1 | 256014098 | 304322915 |  | 560337013
| [ 소 계 ] |  |  |  |  | 75325062510 | 25272739302 | 2907099469 | 103504901281
1 | 간접노무비 | (직접)노무비 * | 8.4% | 식 | 1 |  | 2122910101 |  | 2122910101
2 | 산재보험료 | 노무비 * | 3.6% | 식 | 1 |  |  | 986243378 | 986243378
3 | 고용보험료 | 노무비 * | 1.24% | 식 | 1 |  |  | 339706052 | 339706052
4 | 건강보험료 | (직접)노무비 * | 1.7% | 식 | 1 |  |  | 429636568 | 429636568
5 | 요양보험료 | 건강보험료 * | 6.55% | 식 | 1 |  |  | 28141195 | 28141195
6 | 연금보험료 | (직접)노무비 * | 2.49% | 식 | 1 |  |  | 629291208 | 629291208
7 | 퇴직공제부금 | (직접)노무비 * | 2.3% | 식 | 1 |  |  | 581273003 | 581273003
8 | 안전관리비 | (재료+(직접)노무) * | 1.88% | 식 | 1 |  |  | 1891238674 | 1891238674
9 | 환경보존비 | (재료+직노+경비) * | 0.5% | 식 | 1 |  |  | 517524506 | 517524506
10 | 일반관리비 | (재료+노무+경비) * | 0% | 식 | 1
11 | 이윤 | (노무+경비+일반관리비) * | 0% | 식 | 1
| [ 소 계 ] |  |  |  |  | 0 | 2122910101 | 5403054584 | 7525964685
| [ 공 사 비 계 ] |  |  |  |  | 75325062510 | 27395649403 | 8310154053 | 111030865966
| 부가가치세 |  |  |  |  | 7532506251 | 2739564940 | 831015405 | 11103086596
| [ 총 공 사 비 ] |  |  |  |  | 82857568761 | 30135214343 | 9141169458 | 122133952562 | VAT포함

## 내역서표지
GMMA 경기도미술관 로비 미디어월 리노베이션공사
내 역 서

## 원가계산 서
공 사 원 가 계 산 서
공사명 : GMMA 경기도미술관 로비 미디어월 리노베이션공사
비 목 |  |  | 금 액 | 구 성 비 | 비 고
순 공 사 원 가 | 재 료 비 | 직 접 재 료 비 | 14983413 |  | 50억 미만
|  | 간 접 재 료 비 |  |  | 1개월미만 공사기준
작업설, 부산물(△)
|  | [ 소 계 ] | 14983413
| 노 무 비 | 직 접 노 무 비 | 15323694
|  | 간 접 노 무 비 | 1210571 | 직접노무비 * 7.9%
|  | [ 소 계 ] | 16534265
| 경 비 | 기 계 경 비 | 89836
|  | 산 재 보 험 료 | 669637 | 노무비 * 4.05%
|  | 고 용 보 험 료 | 143848 | 노무비 * 0.87%
|  | 국민 건강 보험료 |  | 직접노무비 * 1.7%
|  | 국민 연금 보험료 |  | 직접노무비 * 2.49%
|  | 노인장기요양보험료 |  | 건강보험료 * 7.38%
퇴직 공제 부금비
|  | 산업안전보건관리비 | 887998 | (재료비+직노) * 2.93%
|  | 환 경 보 전 비 | 151984 | (재료비+직노+기계경비) * 0.5%
|  | 기 타 경 비 | 1733472 | (재료비+노무비) * 5.5%
|  | 하도급지급보증수수료 | 24621 | (재료비+직노+기계경비) * 0.081%
|  | 건설기계대여금지급보증서발급수수료 | 21277 | (재료비+직노+기계경비) * 0.07%
|  | [ 소 계 ] | 3722673
계 |  |  | 35240351
일 반 관 리 비 |  |  | 1762017 | 계 * 6% | 6% → 5% 적용
이 윤 |  |  | 2201895 | (노무비+경비+일반관리비) * 15% | 15% → 10% 적용
폐기물 처리비 |  |  | 1350000
공 급 가 액 |  |  | 40554263
부 가 가 치 세 |  |  | 4055426 | 공급가액 * 10%
도 급 액 |  |  | 44609689
총 공 사 비 |  |  | 44609689

## 집계표
구분 | 품명 | 규격 | 스펙 | 단위 | 수량 | 재료비 |  | 노무비 |  | 경비 |  | 합계 |  | 비고
No | DESCRIPTION | SIZE | SPEC | UNIT | Q'TY | 단가 | 금액 | 단가 | 금액 | 단가 | 금액 | 단가 | 금액 | NOTE
** | GMMA 경기도미술관 로비 미디어월 리노베이션공사
A | 직접공사비
A | 인테리어공사 |  |  | 식 | 1 |  | 14983413 |  | 15323694 |  | 89836 |  | 30396943
| 직접공사비 계 | [5 empty] | 14983413 |  | 15323694 |  | 89836 |  | 30396943
** | 견적조건
- | 견적외사항 별도

## 인테리어내역서
구분 | 품명 | 규격 | 스펙 | 단위 | 수량 | 재료비 |  | 노무비 |  | 경비 |  | 합계 |  | 비고
No | DESCRIPTION | SIZE | SPEC | UNIT | Q'TY | 단가 | 금액 | 단가 | 금액 | 단가 | 금액 | 단가 | 금액 | NOTE
** | GMMA 경기도미술관 로비 미디어월 리노베이션공사
A | 인테리어공사
1. | 가설공사 |  |  | 식 | 1 |  | 1714894 |  | 3183941 |  | 0 |  | 4898835
2. | 철거공사 |  |  | 식 | 1 |  | 0 |  | 1421359 |  | 0 |  | 1421359
3. | 바닥공사 |  |  | 식 | 1 |  | 1880941 |  | 292345 |  | 0 |  | 2173286
4. | 다목적실 및 미디어아카이브월 |  |  | 식 | 1 |  | 8698010 |  | 8161803 |  | 78596 |  | 16938409
5. | 멀티비젼 |  |  | 식 | 1 |  | 2689568 |  | 2264246 |  | 11240 |  | 4965054
| 직접공사비 계 | [5 empty] | 14983413 |  | 15323694 |  | 89836 |  | 30396943 | [5 empty] | 품명 | 수량 | 단가
** | 견적조건
- | 견적외사항 별도
1. | 가설공사
| 먹매김 |  |  | M2 | 58.557 | 0 | 0 | 878 | 51413 | 0 | 0 | 878 | 51413 | 1 | 먹메김 | 0.024 | 2635.656
| 현장보양 | 플라베니어/골판지/비닐 |  | M2 | 58.557 | 564 | 33026 | 1098 | 64295 | 0 | 0 | 1662 | 97321 | 2 | 플라베니아 | 0.9*1.8 | 1800/m2 | 재료비 금액 하드롱지로 되어있음
| 현장정리정돈 | 준공청소포함 |  | M2 | 58.557 | 0 | 0 | 10981 | 643014 | 0 | 0 | 10981 | 643014 | 3
| 가설칸막이 | STUD 65T+GB 9.5T*1P+도배 |  | M2 | 88.4 | 15632 | 1381868 | 26869 | 2375219 | 0 | 0 | 42501 | 3757087 | 15
| 가설도어 | 1800*2100 |  | EA | 1 | 300000 | 300000 | 50000 | 50000 | 0 | 0 | 350000 | 350000 | 실거래단가
| 계 | [5 empty] | 1714894 |  | 3183941 |  | 0 |  | 4898835
2. | 철거공사
| 기존바닥면부분철거 | 몰탈철거 |  | M2 | 15 | 0 | 0 | 13178 | 197670 | 0 | 0 | 13178 | 197670 | 23
| 벽체철거 | 전시부스 및 뮤지엄샵 등 |  | M2 | 5.0915 | 0 | 0 | 9621 | 48985 | 0 | 0 | 9621 | 48985 | 24
| 가설벽체철거 |  |  | M2 | 88.4 | 0 | 0 | 9621 | 850496 | 0 | 0 | 9621 | 850496 | 24
| 계단챌판컬러시트철거 |  |  | M2 | 11.648 | 0 | 0 | 1098 | 12789 | 0 | 0 | 1098 | 12789 | 25
| 안내데스크철거 | H:1050 |  | M | 12.56 | 0 | 0 | 21963 | 275855 | 0 | 0 | 21963 | 275855 | 26
| 시트철거 |  |  | M2 | 32.39 | 0 | 0 | 1098 | 35564 | 0 | 0 | 1098 | 35564 | 25
| 계 | [5 empty] | 0 |  | 1421359 |  | 0 |  | 1421359
3. | 바닥공사
| 바닥미장 | 기존바닥면 경계구간 |  | M2 | 15 | 4817 | 72255 | 3624 | 54360 | 0 | 0 | 8441 | 126615 | 19
| LVT 타일깔기 | 5.5T | LVT-01 | M2 | 47.597 | 38000 | 1808686 | 5000 | 237985 | 0 | 0 | 43000 | 2046671 | 실거래단가
| 계 | [5 empty] | 1880941 |  | 292345 |  | 0 |  | 2173286
4. | 다목적실 및 미디어아카이브월
* | 계단부위 | [9 empty] | 0 |  | 0
| 각파이프구조틀조성 | 2.3T ㅁ50*50 H:350 |  | M2 | 7.85 | 35402 | 277905 | 186035 | 1460374 | 6011 | 47186 | 227448 | 1785465 | 12
| 방진고무깔기 | 10T |  | M2 | 7.85 | 92 | 722 | 89 | 698 | 0 | 0 | 181 | 1420 | 16
| 일반합판깔기 | 12T*2PLY |  | M2 | 9.3658 | 19303 | 180787 | 22408 | 209867 | 0 | 0 | 41711 | 390654 | 11
| ST'L 간접등박스 | 1.6T 150*150*50*20*50*20 |  | M | 8.093 | 6198 | 50160 | 29884 | 241851 | 965 | 7809 | 37047 | 299820 | 6
| 철부도장 |  |  | M2 | 3.5609 | 1503 | 5352 | 10591 | 37713 | 0 | 0 | 12094 | 43065 | 7
| LVT 타일깔기 | 5.5T | LVT-01 | M2 | 9.3658 | 38000 | 355898 | 5000 | 46828 | 0 | 0 | 43000 | 402726 | 실거래단가
* | 벽체공사 | [9 empty] | 0 |  | 0
| STUD | C-65MM |  | M2 | 96.1638 | 9576 | 920864 | 13655 | 1313116 | 0 | 0 | 23231 | 2233980 | 21
| STUD | C-100MM |  | M2 | 7.694 | 11928 | 91774 | 13655 | 105061 | 0 | 0 | 25583 | 196835 | 22
| 일반석고보드취부 | 12.5T*2PLY |  | M2 | 111.5518 | 7929 | 884494 | 10845 | 1209779 | 0 | 0 | 18774 | 2094273 | 20
| ALL PUTTY |  |  | M2 | 196.6151 | 1848 | 363344 | 7075 | 1391051 | 0 | 0 | 8923 | 1754395 | 8
| PAINT |  |  | M2 | 196.6151 | 5999 | 1179493 | 1116 | 219422 | 0 | 0 | 7115 | 1398915 | 9
| S'STL 몰딩 | 1.5T ㅁ30*30 |  | M | 35.6 | 4972 | 177003 | 8650 | 307940 | 279 | 9932 | 13901 | 494875 | 5
| 흑경취부 | 10T |  | M2 | 9.96 | 55000 | 547800 | 21248 | 211630 | 0 | 0 | 76248 | 759430 | 17
| 점검구 | 800*800 |  | EA | 2 | 85000 | 170000 | 20000 | 40000 | 0 | 0 | 105000 | 210000 | 실거래단가
| 미디어 아카이브월조성 | 6029*180*876, 보강포함 |  | EA | 1 | 159310 | 159310 | 518766 | 518766 | 13669 | 13669 | 691745 | 691745 | 13
| 스윙도어 | 1100*2100, 도장 |  | SET | 1 | 3000000 | 3000000 | 500000 | 500000 | 0 | 0 | 3500000 | 3500000 | 실거래단가
* | 천정공사
| ALL PUTTY |  |  | M2 | 42.45 | 1848 | 78447 | 7075 | 300333 | 0 | 0 | 8923 | 378780 | 8
| PAINT |  |  | M2 | 42.45 | 5999 | 254657 | 1116 | 47374 | 0 | 0 | 7115 | 302031 | 9
| 계 | [5 empty] | 8698010 |  | 8161803 |  | 78596 |  | 16938409
5. | 멀티비젼
* | 벽체공사 | [9 empty] | 0 |  | 0
| ALL PUTTY |  |  | M2 | 78.4506 | 1848 | 144976 | 7075 | 555037 | 0 | 0 | 8923 | 700013 | 8
| PAINT |  |  | M2 | 78.4506 | 5999 | 470624 | 1116 | 87550 | 0 | 0 | 7115 | 558174 | 9
| AL MOULING | ㅁ20*20 |  | M | 115.696 | 3000 | 347088 | 3000 | 347088 | 0 | 0 | 6000 | 694176 | 실거래단가
| 흑경취부 | 5T |  | M2 | 24.3468 | 33000 | 803442 | 14392 | 350398 | 0 | 0 | 47392 | 1153840 | 18
| 멀티비젼조성 | 4126*180*1234, 보강포함 |  | EA | 1 | 137435 | 137435 | 434400 | 434400 | 11240 | 11240 | 583075 | 583075 | 14
| 배기구그길교체 |  |  | SET | 2 | 350000 | 700000 | 200000 | 400000 | 0 | 0 | 550000 | 1100000 | 실거래단가
* | 천정공사
| ALL PUTTY |  |  | M2 | 10.96 | 1848 | 20254 | 7075 | 77542 | 0 | 0 | 8923 | 97796 | 8
| PAINT |  |  | M2 | 10.96 | 5999 | 65749 | 1116 | 12231 | 0 | 0 | 7115 | 77980 | 9
| 계 | [5 empty] | 2689568 |  | 2264246 |  | 11240 |  | 4965054
B | 폐기물처리비
| 혼합폐기물처리비 | 1 ton |  | 대 | 3 |  | 0 |  | 0 | 450000 | 1350000 | 450000 | 1350000 | 실거래단가
| 폐기물처리비 계 | [5 empty] | 0 |  | 0 |  | 1350000 |  | 1350000

## 수량산출서표지
GMMA 경기도미술관 로비 미디어월 리노베이션공사
수 량 산 출 서

## 수량산출서
구분 | 품명 | 규격 | 스펙 | 단위 | 수량 | 수량산출서 | 비고
No | DESCRIPTION | SIZE | SPEC | UNIT | Q'TY |  | NOTE
** | GMMA 경기도미술관 로비 미디어월 리노베이션공사
A | 인테리어공사
1. | 가설공사
| 먹매김 |  |  | M2 | 58.557 | 47.597+10.96
| 현장보양 | 플라베니어/골판지/비닐 |  | M2 | 58.557 | 47.597+10.96
| 현장정리정돈 | 준공청소포함 |  | M2 | 58.557 | 47.597+10.96
| 가설칸막이 | STUD 65T+GB 9.5T*1P+도배 |  | M2 | 88.4 | (20+2.1)*4
| 가설도어 | 1800*2100 |  | EA | 1 | 1
계
2. | 철거공사
| 기존바닥면부분철거 | 몰탈철거 |  | M2 | 15 | 15
| 벽체철거 | 전시부스 및 뮤지엄샵 등 |  | M2 | 5.0915 | 4.126*1.234
| 가설벽체철거 |  |  | M2 | 88.4 | (20+2.1)*4
| 계단챌판컬러시트철거 |  |  | M2 | 11.648 | 2.08*28*0.2
| 안내데스크철거 | H:1050 |  | M | 12.56 | 2.36+9+1.2
| 시트철거 |  |  | M2 | 32.39 | (4.1*2)*3.95
계
3. | 바닥공사
| 바닥미장 | 기존바닥면 경계구간 |  | M2 | 15 | 15
| LVT 타일깔기 | 5.5T | LVT-01 | M2 | 47.597 | 47.597
계
4. | 다목적실 및 미디어아카이브월
* | 계단부위
| 각파이프구조틀조성 | 2.3T ㅁ50*50 H:350 |  | M2 | 7.85 | 7.85
| 방진고무깔기 | 10T |  | M2 | 7.85 | 7.85
| 일반합판깔기 | 12T*2PLY |  | M2 | 9.3658 | 7.85+(3.365+1.3)*0.2+(0.92+2.508)*0.17
| ST'L 간접등박스 | 1.6T 150*150*50*20*50*20 |  | M | 8.093 | 3.365+1.3+0.92+2.508
| 철부도장 |  |  | M2 | 3.5609 | (3.365+1.3+0.92+2.508)*(0.15+0.15+0.05+0.02+0.05+0.02)
| LVT 타일깔기 | 5.5T | LVT-01 | M2 | 9.3658 | 7.85+(3.365+1.3)*0.2+(0.92+2.508)*0.17
* | 벽체공사
| STUD | C-65MM |  | M2 | 96.1638 | (0.672+11.25*2)*4.15
| STUD | C-100MM |  | M2 | 7.694 | 2.36*4.15-1*2.1
| 일반석고보드취부 | 12.5T*2PLY |  | M2 | 111.5518 | (0.672+11.25*2)*4.15+(2.36*4.15-1*2.1)*2
| ALL PUTTY |  |  | M2 | 196.6151 | (24.985+11.25+23.78)*4.15-(9+4.5)*3.6-(0.84+1*2)*2.1+(0.42*2*2.1+0.84*0.42)
| PAINT |  |  | M2 | 196.6151 | (24.985+11.25+23.78)*4.15-(9+4.5)*3.6-(0.84+1*2)*2.1+(0.42*2*2.1+0.84*0.42)
| S'STL 몰딩 | 1.5T ㅁ30*30 |  | M | 35.6 | 0.6*4+4.15*2*4
| 흑경취부 | 10T |  | M2 | 9.96 | 0.6*4*4.15
| 점검구 | 800*800 |  | EA | 2 | 2
| 미디어 아카이브월조성 | 6029*180*876, 보강포함 |  | EA | 1 | 1
| 스윙도어 | 1100*2100, 도장 |  | SET | 1 | 1
* | 천정공사
| ALL PUTTY |  |  | M2 | 42.45 | 19.03+23.42
| PAINT |  |  | M2 | 42.45 | 19.03+23.42
계
5. | 멀티비젼
* | 벽체공사
| ALL PUTTY |  |  | M2 | 78.4506 | (0.71+24.12)*4.15-(3.48+4.4)*3.6+(4.1*1.841*0.5)
| PAINT |  |  | M2 | 78.4506 | (0.71+24.12)*4.15-(3.48+4.4)*3.6+(4.1*1.841*0.5)
| AL MOULING | ㅁ20*20 |  | M | 115.696 | (4.1*4+3.584+2.426+1.268+3.6+3.47+3.136+2.925+2.736+2.548+2.359+2.171+1.94+1.759+4.494-1.28*3-1.06*4)+(4.1*8+3.6*10-(1.28+1.58)*4)+(0.55*8+3.6*2)
| 흑경취부 | 5T |  | M2 | 24.3468 | (1.759+3.6)*4.1*0.5+4.1*3.6-1.28*1.06-1.28*1.58+0.55*3.6
| 멀티비젼조성 | 4126*180*1234, 보강포함 |  | EA | 1 | 1
| 배기구그길교체 |  |  | SET | 2 | 2
* | 천정공사
| ALL PUTTY |  |  | M2 | 10.96 | 10.96
| PAINT |  |  | M2 | 10.96 | 10.96
계
B | 폐기물처리비
| 혼합폐기물처리비 | 1 ton |  | 대 | 3 | 3
폐기물처리비 계

## 일위대가표지
GMMA 경기도미술관 로비 미디어월 리노베이션공사
일 위 대 가 표

## 일위대가집계표
일위대가 집계표
공사명 : GMMA 경기도미술관 로비 미디어월 리노베이션공사
코 드 | 품 명 | 규 격 | SPEC | 단 위 | 재 료 비 | 노 무 비 | 경 비 | 합 계 | 비 고
1 | 먹메김 | 0 |  | M2 | 0 | 878 | 0 | 878 | 표준품셈 건축 11-1
2 | 현장보양 | 플라베니어/골판지/비닐 |  | M2 | 564 | 1098 | 0 | 1662 | 표준품셈 토목 2-9
3 | 현장정리정돈 | 준공청소포함 |  | M2 | 0 | 10981 | 0 | 10981 | 표준품셈 토목 2-10
4 | 잡철물제작설치 | 0 |  | KG |  |  |  | 0 | 표준품셈 건축 14-5
5 | S'STL 몰딩 | 1.5T ㅁ30*30 |  | M | 4972 | 8650 | 279 | 13901 | 표준품셈 건축 14-5
6 | ST'L 간접등박스 | 1.6T 150*150*50*20*50*20 |  | M | 6198 | 29884 | 965 | 37047 | 표준품셈 건축 14-5
7 | 조합페인트 | 철재면 |  | M2 | 1503 | 10591 | 0 | 12094 | 표준품셈 건축 17-3-1
8 | ALL PUTTY | 0 |  | M2 | 1848 | 7075 | 0 | 8923 | 표준품셈 건축 17-1-2
9 | PAINT | 0 |  | M2 | 5999 | 1116 | 0 | 7115 | 표준품셈 건축 17-2-3
10 | 엔진식도장기의 운전경비 | 0 |  | 시간(ℓ/MIN) | 1398 | 0 | 0 | 1398 | 0
11 | 일반합판깔기 | 12T*2PLY |  | M2 | 19303 | 22408 | 0 | 41711 | 표준품셈 건축 11-1-3-3
12 | 각파이프구조틀조성 | 2.3T ㅁ50*50 H:350 |  | M2 | 35402 | 186035 | 6011 | 227448 | 표준품셈 건축 14-5
13 | 미디어 아카이브월조성 | 6029*180*876, 보강포함 |  | EA | 159310 | 518766 | 13669 | 691745 | 표준품셈 건축 14-5
14 | 멀티비젼조성 | 4126*180*1234, 보강포함 | 0 | EA | 137435 | 434400 | 11240 | 583075 | 표준품셈 건축 14-5
15 | 가설칸막이 | STUD 65T+GB 9.5T*1P+도배 |  | M2 | 15632 | 26869 | 0 | 42501 | 표준품셈 건축 14-5
16 | 방진고무깔기 | 10T | 0 | M2 | 92 | 89 | 0 | 181 | 표준품셈 건축 11-2-1
17 | 흑경취부 | 10T | 0 | M2 | 55000 | 21248 | 0 | 76248 | 표준품셈 건축 16-4-2-2/16-5-1
18 | 흑경취부 | 5T |  | M2 | 33000 | 14392 | 0 | 47392 | 표준품셈 건축 16-4-2-2/16-5-1
19 | 바닥미장 | 기존바닥면 경계구간 |  | M2 | 4817 | 3624 | 0 | 8441 | 0
20 | 일반석고보드취부 | 12.5T*2PLY | 0 | M2 | 7929 | 10845 | 0 | 18774 | 표준품셈 건축 11-3-1-2
21 | STUD | C-65MM | 0 | M2 | 9576 | 13655 | 0 | 23231 | 0
22 | STUD | C-100MM | 0 | M2 | 11928 | 13655 | 0 | 25583 | 0
23 | 기존바닥면부분철거 | 몰탈철거 | 0 | M2 | 0 | 13178 | 0 | 13178 | 표준품셈 건축 18-1-1
24 | 벽체철거 | 전시부스 및 뮤지엄샵 등 | 0 | M2 | 0 | 9621 | 0 | 9621 | 0
25 | 계단챌판컬러시트철거 | 0 | 0 | M2 | 0 | 1098 | 0 | 1098 | 표준품셈 건축 18-1-1
26 | 안내데스크철거 | H:1050 | 0 | M | 0 | 21963 | 0 | 21963 | 표준품셈 건축 18-1-1
[9 empty] | #REF! |  | #REF!
[10 empty] | #REF! | #REF!
[9 empty] | #REF! |  | #REF!
[10 empty] | #REF! | #REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
[9 empty] | #REF! |  | #REF!
[10 empty] | #REF! | #REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
[9 empty] | #REF! |  | #REF!
[10 empty] | #REF! | #REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
[9 empty] | #REF! |  | #REF!
[10 empty] | #REF! | #REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
[9 empty] | #REF! |  | #REF!
[10 empty] | #REF! | #REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
[9 empty] | #REF! |  | #REF!
[10 empty] | #REF! | #REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
[9 empty] | #REF! |  | #REF!
[10 empty] | #REF! | #REF!

## 일위대가
일 위 대 가 표
| 항 목 번 호 : | 1
| 공 종 ; | 먹메김 | [6 empty] | 표준품셈 건축 11-1
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 0 |  | 878 |  | 0 | 878
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 건축목공 |  | 0.005 | 인 |  | 0 | 175760 | 878 |  | 0 | 조사-003
| 소 계 |  |  |  |  | 0 |  | 878 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 2
| 공 종 ; | 현장보양 | 플라베니어/골판지/비닐 | [5 empty] | 표준품셈 토목 2-9
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 564 |  | 1098 |  | 0 | 1662
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 하드롱지 |  | 1.2 | M2 | 430 | 516 |  | 0 |  | 0 | 조사-015
| 풀 |  | 0.06 | KG | 800 | 48 |  | 0 |  | 0 | 조사-016
| 보통인부 |  | 0.01 | 인 |  | 0 | 109819 | 1098 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 564 |  | 1098 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 3
| 공 종 ; | 현장정리정돈 | 준공청소포함 | [5 empty] | 표준품셈 토목 2-10
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 0 |  | 10981 |  | 0 | 10981
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 보통인부 |  | 0.1 | 인 |  | 0 | 109819 | 10981 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 0 |  | 10981 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 4
| 공 종 ; | 잡철물제작설치 | [6 empty] | 표준품셈 건축 14-5
| 단 위 ; | KG |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 0 |  | 0 |  | 0 | 0
| 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
[5 empty] | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 용접봉 | 산소KSE 4301 3.2mm | 0.01848 | KG | 2280 | 42 |  | 0 |  | 0 | 조사-013
| 산소 |  | 6.3 | ℓ | 2.7083 | 17 |  | 0 |  | 0 | 조사-011
| 아세틸렌 |  | 0.0028 | ㎏ | 13000 | 36 |  | 0 |  | 0 | 조사-012
| 용접기손료 | AMP-500교류 | 0.02083 | HR |  | 0 |  | 0 | 124 | 2 | 거래가격-1498P
| 전력량 |  | 0.126 | KWH |  | 0 |  | 0 | 92.3 | 11 | 거래가격-1468P
| 철공 |  | 0.02765 | 인 |  | 0 | 170500 | 4714 |  | 0 | 조사-005
| 보통인부 |  | 0.00066 | 인 |  | 0 | 109819 | 72 |  | 0 | 조사-001
| 용접공 |  | 0.0026 | 인 |  | 0 | 169201 | 439 |  | 0 | 조사-004
| 특별인부 |  | 0.00074 | 인 |  | 0 | 133417 | 98 |  | 0 | 조사-002
| 공구손료 | 노무비의3% | 1 | 식 |  | 0 |  | 0 | 159.69 | 159
| 소 계 | 간단 |  |  |  | 95 |  | 5323 |  | 172
|  | 보통 |  |  |  | 114 |  | 6387.6 |  | 206.4
|  | 복잡 |  |  |  | 133 |  | 7452.2 |  | 240.8
일 위 대 가 표
| 항 목 번 호 : | 5
| 공 종 ; | S'STL 몰딩 | 1.5T ㅁ30*30 | [5 empty] | 표준품셈 건축 14-5
| 단 위 ; | M |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 4972 |  | 8650 |  | 279 | 13901
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| SST'L PLATE | 1.5T | 1.7877 | KG | 2695.2501 | 4818 |  | 0 |  | 0 | 조사-021
| 잡철물 제작 설치 | 간단 | 1.6252 | KG | 95 | 154 | 5323 | 8650 | 172 | 279 | 4
| 소 계 |  |  |  |  | 4972 |  | 8650 |  | 279
일 위 대 가 표
| 항 목 번 호 : | 6
| 공 종 ; | ST'L 간접등박스 | 1.6T 150*150*50*20*50*20 | [5 empty] | 표준품셈 건축 14-5
| 단 위 ; | M |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 6198 |  | 29884 |  | 965 | 37047
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| ST'L PLATE | 1.6T | 0.484 | M2 | 11706 | 5665 |  | 0 |  | 0 | 조사-020
| 잡철물 제작 설치 | 간단 | 5.6141 | KG | 95 | 533 | 5323 | 29884 | 172 | 965 | 4
| 소 계 |  |  |  |  | 6198 |  | 29884 |  | 965
일 위 대 가 표
| 항 목 번 호 : | 7
| 공 종 ; | 조합페인트 | 철재면 | [5 empty] | 표준품셈 건축 17-3-1
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 1503 |  | 10591 |  | 0 | 12094
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 조합페인트 | 3회 | 0.25092 | ℓ | 5794.4444 | 1453 |  | 0 |  | 0 | 조사-025
| 시너 |  | 0.012 | ℓ | 2711.1111 | 32 |  | 0 |  | 0 | 조사-024
| 도장공 |  | 0.02 | 인 |  | 0 | 153890 | 3077 |  | 0 | 조사-006
| 보통인부 |  | 0.004 | 인 |  | 0 | 109819 | 439 |  | 0 | 조사-001
| ALL PUTTY |  | 1 | M2 | 1848 | 18 | 7075 | 7075 | 0 | 0 | 일위-15
| 소 계 |  |  |  |  | 1503 |  | 10591 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 8
| 공 종 ; | ALL PUTTY | [6 empty] | 표준품셈 건축 17-1-2
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 1848 |  | 7075 |  | 0 | 8923
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| F-Tape | 35~100mm | 1.52 | m | 73 | 110 | 0 | 0 |  | 0
| 휠러 |  | 0.325 | kg | 1150 | 373 | 0 | 0 |  | 0
| 퍼티,PUTTY | 319퍼티, 백색 | 0.667 | kg | 1993.54 | 1329 | 0 | 0 |  | 0
| 연마지 | 연마지, #120~180, 230*280 | 0.18 | 매 | 200 | 36 | 0 | 0 |  | 0
| 노무비 | 도장공 | 0.045 | 인 | 0 |  | 122128 | 5495 |  | 0
| 노무비 | 보통인부 | 0.018 | 인 | 0 |  | 87805 | 1580
| 소 계 |  |  |  |  | 1848 |  | 7075 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 9
| 공 종 ; | PAINT | [6 empty] | 표준품셈 건축 17-2-3
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 5999 |  | 1116 |  | 0 | 7115
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 합성수지에멀션페인트 |  | 2.56 | ℓ | 2316.6667 | 5930 |  | 0 |  | 0 | 조사-030
| 도장공 |  | 0.0054 | 인 |  | 0 | 153890 | 831 |  | 0 | 조사-006
| 보통인부 |  | 0.0026 | 인 |  | 0 | 109819 | 285 |  | 0 | 조사-001
| 엔진식도장기 | 4.7ℓ/MIN | 0.05 | 시간 | 1398 | 69 |  | 0 |  | 0 | 10
| 소 계 |  |  |  |  | 5999 |  | 1116 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 10
| 공 종 ; | 엔진식도장기의 운전경비
| 단 위 ; | 시간(ℓ/MIN) |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 1398 |  | 0 |  | 0 | 1398
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 휘발유 |  | 0.72 | ℓ | 1618.85 | 1165 |  | 0 |  | 0 | 조사-014
| 잡품 | 주연료비의20% | 1 | 식 | 233 | 233 |  | 0 |  | 0
| 소 계 |  |  |  |  | 1398 |  | 0 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 11
| 공 종 ; | 일반합판깔기 | 12T*2PLY | [5 empty] | 표준품셈 건축 11-1-3-3
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 19303 |  | 22408 |  | 0 | 41711
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 일반합판 | 12MM | 2.1 | M2 | 8566 | 17988 |  | 0 |  | 0 | 조사-031
| 접착제 |  | 0.54 | KG | 2437 | 1315 |  | 0 |  | 0 | 조사-018
| 건축목공 |  | 0.12 | 인 |  | 0 | 175760 | 21091 |  | 0 | 조사-003
| 보통인부 |  | 0.012 | 인 |  | 0 | 109819 | 1317 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 19303 |  | 22408 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 12
| 공 종 ; | 각파이프구조틀조성 | 2.3T ㅁ50*50 H:350 | [5 empty] | 표준품셈 건축 14-5
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 35402 |  | 186035 |  | 6011 | 227448
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 각파이프 | 50*50 2.3T | 10.9871 | M | 2920 | 32082 |  | 0 |  | 0 | 조사-023
| 잡철물 제작 설치 | 간단 | 34.9494 | KG | 95 | 3320 | 5323 | 186035 | 172 | 6011 | 4
| 소 계 |  |  |  |  | 35402 |  | 186035 |  | 6011
일 위 대 가 표
| 항 목 번 호 : | 13
| 공 종 ; | 미디어 아카이브월조성 | 6029*180*876, 보강포함 | [5 empty] | 표준품셈 건축 14-5
| 단 위 ; | EA |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 159310 |  | 518766 |  | 13669 | 691745
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 각파이프 | 50*50 2.3T | 24.9842 | M | 2920 | 72953 |  | 0 |  | 0 | 조사-023
| 잡철물 제작 설치 | 간단 | 79.4735 | KG | 95 | 7549 | 5323 | 423037 | 172 | 13669 | 4
| 일반합판 | 12MM | 8.5439 | M2 | 8566 | 73187 |  | 0 |  | 0 | 조사-031
| 접착제 |  | 2.3069 | KG | 2437 | 5621 |  | 0 |  | 0 | 조사-018
| 건축목공 |  | 0.51264 | 인 |  | 0 | 175760 | 90100 |  | 0 | 조사-003
| 보통인부 |  | 0.051264 | 인 |  | 0 | 109819 | 5629 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 159310 |  | 518766 |  | 13669
일 위 대 가 표
| 항 목 번 호 : | 14
| 공 종 ; | 멀티비젼조성 | 4126*180*1234, 보강포함 | [5 empty] | 표준품셈 건축 14-5
| 단 위 ; | EA |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 137435 |  | 434400 |  | 11240 | 583075
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 각파이프 | 50*50 2.3T | 20.5447 | M | 2920 | 59990 |  | 0 |  | 0 | 조사-023
| 잡철물 제작 설치 | 간단 | 65.3518 | KG | 95 | 6208 | 5323 | 347867 | 172 | 11240 | 4
| 일반합판 | 12MM | 7.7232 | M2 | 8566 | 66156 |  | 0 |  | 0 | 조사-031
| 접착제 |  | 2.0853 | KG | 2437 | 5081 |  | 0 |  | 0 | 조사-018
| 건축목공 |  | 0.46339 | 인 |  | 0 | 175760 | 81445 |  | 0 | 조사-003
| 보통인부 |  | 0.046339 | 인 |  | 0 | 109819 | 5088 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 137435 |  | 434400 |  | 11240
일 위 대 가 표
| 항 목 번 호 : | 15
| 공 종 ; | 가설칸막이 | STUD 65T+GB 9.5T*1P+도배 | [5 empty] | 표준품셈 건축 14-5
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 15632 |  | 26869 |  | 0 | 42501
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 메탈스터드 | 65*45*0.8 | 2.33 | M | 2580 | 6011 |  | 0 |  | 0 | 조사-037
| 메탈러너 | 67*40*0.8 | 0.68 | M | 2120 | 1441 |  | 0 |  | 0 | 조사-039
| 나사 | 65MM | 24 | EA | 55 | 1320 |  | 0 |  | 0 | 조사-041
| HILTI PIN | DN-350 | 8 | SET | 55 | 440 |  | 0 |  | 0 | 조사-043
| 용접봉 | 3.2M/M | 0.16 | KG | 2280 | 364 |  | 0 |  | 0 | 조사-013
| 내장공 |  | 0.06 | 인 |  | 0 | 165367 | 9922 |  | 0 | 조사-007
| 보통인부 |  | 0.034 | 인 |  | 0 | 109819 | 3733 |  | 0 | 조사-001
| 일반석고보드 | 9.5T | 1.05 | M2 | 2407.4074 | 2527 |  | 0 |  | 0 | 조사-035
| 석고본드 |  | 1.215 | KG | 436 | 529 |  | 0 |  | 0 | 조사-017
| 내장공 |  | 0.033 | 인 |  | 0 | 165367 | 5457 |  | 0 | 조사-007
| 보통인부 |  | 0.016 | 인 |  | 0 | 109819 | 1757 |  | 0 | 조사-001
| 도배공사 |  | 1 | M2 | 3000 | 3000 | 6000 | 6000 |  | 0
| 소 계 |  |  |  |  | 15632 |  | 26869 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 16
| 공 종 ; | 방진고무깔기 | 10T | [5 empty] | 표준품셈 건축 11-2-1
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 92 |  | 89 |  | 0 | 181
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 방진고무 | 10T | 0.029167 | M2 | 3000 | 87 |  | 0 |  | 0 | 조사-032
| 접착제 |  | 0.0035 | KG | 1555 | 5 |  | 0 |  | 0 | 조사-019
| 내장공 |  | 0.00035 | 인 |  | 0 | 165367 | 57 |  | 0 | 조사-007
| 보통인부 |  | 0.00029167 | 인 |  | 0 | 109819 | 32 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 92 |  | 89 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 17
| 공 종 ; | 흑경취부 | 10T | [5 empty] | 표준품셈 건축 16-4-2-2/16-5-1
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 55000 |  | 21248 |  | 0 | 76248
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 흑경 | 10T | 1.1 | M2 | 50000 | 55000 | 0 | 0 |  | 0 | 조사-046
| 유리공 |  | 0.136 | 인 | 0 | 0 | 155803 | 21189 |  | 0 | 조사-001
| 코킹공 |  | 0.0003 | 인 | 0 | 0 | 149882 | 44 |  | 0 | 조사-001
| 보통인부 |  | 0.00014 | 인 | 0 | 0 | 109819 | 15 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 55000 |  | 21248 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 18
| 공 종 ; | 흑경취부 | 5T | [5 empty] | 표준품셈 건축 16-4-2-2/16-5-1
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 33000 |  | 14392 |  | 0 | 47392
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 흑경 | 5T | 1.1 | M2 | 30000 | 33000 | 0 | 0 |  | 0 | 조사-033
| 유리공 |  | 0.092 | 인 | 0 | 0 | 155803 | 14333 |  | 0 | 조사-001
| 코킹공 |  | 0.0003 | 인 | 0 | 0 | 149882 | 44 |  | 0 | 조사-001
| 보통인부 |  | 0.00014 | 인 | 0 | 0 | 109819 | 15 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 33000 |  | 14392 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 19
| 공 종 ; | 바닥미장 | 기존바닥면 경계구간
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 4817 |  | 3624 |  | 0 | 8441
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 시멘트 |  | 25.5 | KG | 135 | 3442 |  | 0 |  | 0 | 조사-044
| 모래 |  | 0.055 | M3 | 25000 | 1375 |  | 0 |  | 0 | 조사-045
| 보통인부 |  | 0.033 | 인 |  | 0 | 109819 | 3624 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 4817 |  | 3624 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 20
| 공 종 ; | 일반석고보드취부 | 12.5T*2PLY | [5 empty] | 표준품셈 건축 11-3-1-2
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 7929 |  | 10845 |  | 0 | 18774
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 일반석고보드 | 12.5T | 2.1 | M2 | 3271.6049 | 6870 |  | 0 |  | 0 | 조사-036
| 석고본드 |  | 2.43 | KG | 436 | 1059 |  | 0 |  | 0 | 조사-017
| 내장공 |  | 0.045 | 인 |  | 0 | 165367 | 7441 |  | 0 | 조사-007
| 보통인부 |  | 0.031 | 인 |  | 0 | 109819 | 3404 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 7929 |  | 10845 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 21
| 공 종 ; | STUD | C-65MM
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 9576 |  | 13655 |  | 0 | 23231
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 메탈스터드 | 65*45*0.8 | 2.33 | M | 2580 | 6011 |  | 0 |  | 0 | 조사-037
| 메탈러너 | 67*40*0.8 | 0.68 | M | 2120 | 1441 |  | 0 |  | 0 | 조사-039
| 나사 | 65MM | 24 | EA | 55 | 1320 |  | 0 |  | 0 | 조사-041
| HILTI PIN | DN-350 | 8 | SET | 55 | 440 |  | 0 |  | 0 | 조사-043
| 용접봉 | 3.2M/M | 0.16 | KG | 2280 | 364 |  | 0 |  | 0 | 조사-013
| 내장공 |  | 0.06 | 인 |  | 0 | 165367 | 9922 |  | 0 | 조사-007
| 보통인부 |  | 0.034 | 인 |  | 0 | 109819 | 3733 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 9576 |  | 13655 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 22
| 공 종 ; | STUD | C-100MM
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 11928 |  | 13655 |  | 0 | 25583
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 메탈스터드 | 100*45*0.8 | 2.33 | M | 3140 | 7316 |  | 0 |  | 0 | 조사-038
| 메탈러너 | 102*40*0.8 | 0.68 | M | 2600 | 1768 |  | 0 |  | 0 | 조사-040
| 나사 | 100MM | 24 | EA | 85 | 2040 |  | 0 |  | 0 | 조사-042
| HILTI PIN | DN-350 | 8 | SET | 55 | 440 |  | 0 |  | 0 | 조사-043
| 용접봉 | 3.2M/M | 0.16 | KG | 2280 | 364 |  | 0 |  | 0 | 조사-013
| 내장공 |  | 0.06 | 인 |  | 0 | 165367 | 9922 |  | 0 | 조사-007
| 보통인부 |  | 0.034 | 인 |  | 0 | 109819 | 3733 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 11928 |  | 13655 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 23
| 공 종 ; | 기존바닥면부분철거 | 몰탈철거 | [5 empty] | 표준품셈 건축 18-1-1
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 0 |  | 13178 |  | 0 | 13178
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 보통인부 |  | 0.12 | 인 |  | 0 | 109819 | 13178 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 0 |  | 13178 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 24
| 공 종 ; | 벽체철거 | 전시부스 및 뮤지엄샵 등 | [5 empty] | 표준품셈 건축 18-1-1
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 0 |  | 9621 |  | 0 | 9621
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 건축목공 |  | 0.036 | 인 |  | 0 | 175760 | 6327 |  | 0 | 조사-003
| 보통인부 |  | 0.03 | 인 |  | 0 | 109819 | 3294 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 0 |  | 9621 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 25
| 공 종 ; | 계단챌판컬러시트철거 | [6 empty] | 표준품셈 건축 18-1-1
| 단 위 ; | M2 |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 0 |  | 1098 |  | 0 | 1098
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 보통인부 |  | 0.01 | 인 |  | 0 | 109819 | 1098 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 0 |  | 1098 |  | 0
일 위 대 가 표
| 항 목 번 호 : | 26
| 공 종 ; | 안내데스크철거 | H:1050 | [5 empty] | 표준품셈 건축 18-1-1
| 단 위 ; | M |  |  |  | 재 료 비 |  | 노 무 비 |  | 경 비 | 합 계
[6 empty] | 0 |  | 21963 |  | 0 | 21963
0 | 종 별 | 규 격 | 수량 | 단위 | 자 재 비 |  | 노 무 비 |  | 경 비 |  | 비 고
0 |  |  |  |  | 단가 | 합계 | 단가 | 합계 | 단가 | 합계
| 보통인부 |  | 0.2 | 인 |  | 0 | 109819 | 21963 |  | 0 | 조사-001
| 소 계 |  |  |  |  | 0 |  | 21963 |  | 0

## 단가조사표표지
GMMA 경기도미술관 로비 미디어월 리노베이션공사
단 가 조 사 표

## 단가조사표
단가조사표
공사명 : GMMA 경기도미술관 로비 미디어월 리노베이션공사
코 드 | 품 명 | 규격 | SPEC | 단위 | 노무비 |  |  |  |  | 자재비 | [8 empty] | 비 고
[5 empty] | 2018년 상반기 |  | 조사가격 |  | 적용단가 | 물가자료 |  | 물가정보 |  | 거래가격 |  | 조사가격 |  | 적용단가
[5 empty] | 단 가 | PAGE | A 업체 | B 업체 |  | 단 가 | PAGE | 단 가 | PAGE | 단 가 | PAGE | A 업체 | B 업체
[노무비] | 2018년 상반기
조사-001 | 보통인부 |  |  | 인 | 109819 |  |  |  | 109819 | [8 empty] | 109819
조사-002 | 특별인부 |  |  | 인 | 133417 |  |  |  | 133417 | [8 empty] | 133417
조사-003 | 건축목공 |  |  | 인 | 175760 |  |  |  | 175760 | [8 empty] | 175760
조사-004 | 용접공 |  |  | 인 | 169201 |  |  |  | 169201 | [8 empty] | 169201
조사-005 | 철공 |  |  | 인 | 170500 |  |  |  | 170500 | [8 empty] | 170500
조사-006 | 도장공 |  |  | 인 | 153890 |  |  |  | 153890 | [8 empty] | 153890
조사-007 | 내장공 |  |  | 인 | 165367 |  |  |  | 165367 | [8 empty] | 165367
조사-008 | 배관공 |  |  | 인 | 148689 |  |  |  | 148689 | [8 empty] | 148689
조사-009 | 유리공 |  |  | 인 | 155803 |  |  |  | 155803 | [8 empty] | 155803
조사-010 | 코킹공 |  |  | 인 | 149882 |  |  |  | 149882 | [8 empty] | 149882
[자재비]
조사-011 | 산소 |  |  | ℓ |  |  |  |  | 0 | 3.125 | 33(하) | 2.7083 | 885(Ⅱ) | 2.7083 | 1435 |  |  | 2.7083
조사-012 | 아세틸렌 |  |  | KG |  |  |  |  | 0 | 17000 | 33(하) | 13000 | 885(Ⅱ) | 13200 | 1435 |  |  | 13000
조사-013 | 용접봉 | 3.2M/M |  | KG |  |  |  |  | 0 | 3100 | 1395 | 2520 | 570(Ⅰ) | 2280 | 1310 |  |  | 2280
조사-014 | 휘발유 | 공업용 |  | ℓ |  |  |  |  | 0 | 1993 | 32(하) | 1618.85 | 884(Ⅱ) | 1676 | 1435 |  |  | 1618.85
조사-015 | 하드롱지 |  |  | M2 |  |  |  |  | 0 |  |  |  |  | 430 | 640 |  |  | 430
조사-016 | 풀 |  |  | KG |  |  |  |  | 0 |  |  |  |  | 800 | 640 |  |  | 800
조사-017 | 석고본드 |  |  | KG |  |  |  |  | 0 | 436 | 698 | 456 | 353(Ⅱ) | 460 | 625 |  |  | 436
조사-018 | 접착제 | 목재용 |  | KG |  |  |  |  | 0 | 2437 | 109 | 2437 | 135(Ⅱ) |  |  |  |  | 2437
조사-019 | 접착제 | 비닐타일용 |  | KG |  |  |  |  | 0 | 1555 | 109 | 1555 | 135(Ⅱ) |  |  |  |  | 1555
조사-020 | ST'L PLATE | 1.6T |  | M2 |  |  |  |  | 0 | 11706 | 54 | 19654.321 | 85(Ⅱ) | 16665 | 48 |  |  | 11706
조사-021 | SST'L PLATE | 1.5T |  | KG |  |  |  |  | 0 | 2950 | 71 | 2695.2501 | 98(Ⅱ) | 3083 | 60 |  |  | 2695.2501
조사-022 | 각파이프 | 1.6T ㅁ30*30 |  | M |  |  |  |  | 0 | 1280 | 65 |  |  | 1820 | 57 |  |  | 1280
조사-023 | 각파이프 | 2.3T ㅁ50*50 |  | M |  |  |  |  | 0 | 2920 | 65 |  |  | 4440 | 57 |  |  | 2920
조사-024 | 시너 |  |  | ℓ |  |  |  |  | 0 | 2711.1111 | 617 | 3583.3333 | 254(Ⅱ) | 3579.4444 | 572 |  |  | 2711.1111
조사-025 | 조합페인트 |  |  | ℓ |  |  |  |  | 0 | 5877.7778 | 629 | 5816.6667 | 254(Ⅱ) | 5794.4444 | 572 |  |  | 5794.4444
조사-026 | F-TAPE |  |  | M |  |  |  |  | 0 |  |  |  |  | 75 | 1349 |  |  | 75
조사-027 | 힐러 |  |  | KG |  |  |  |  | 0 | [6 empty] | 1050 |  | 1050
조사-028 | 연마지 | #120 |  | 매 |  |  |  |  | 0 | 260 | 1420 | 319 | 605(Ⅰ) | 230 | 1321 |  |  | 230
조사-029 | 퍼티 | 319퍼티 배색 |  | KG |  |  |  |  | 0 | 3833.3333 | 636 | 4125 | 259(Ⅱ) |  |  |  |  | 3833.3333
조사-030 | 합성수지에멀션페인트 |  |  | ℓ |  |  |  |  | 0 | 2316.6667 | 628 | 2544.4444 | 254(Ⅱ) | 4844.4444 | 572 |  |  | 2316.6667
조사-031 | 합판 | 12MM 4"*8" |  | M2 |  |  |  |  | 0 | 8566 | 693 | 9584 | 352(Ⅱ) | 9775 | 621 |  |  | 8566
조사-032 | 방진고무 | 10T |  | M2 |  |  |  |  | 0 | [6 empty] | 3000 |  | 3000
조사-033 | 흑경 | 5T |  | M2 |  |  |  |  | 0 | [6 empty] | 30000 |  | 30000
조사-034 | AL 몰딩 |  |  | M |  |  |  |  | 0 | 1890 | 543 | 1950 | 418(Ⅱ) |  |  |  |  | 1890
조사-035 | 일반석고보드 | 9.5T |  | M2 |  |  |  |  | 0 | 2407.4074 | 698 | 2592.5926 | 353(Ⅱ) | 2580.2469 | 624 |  |  | 2407.4074
조사-036 | 일반석고보드 | 12.5T |  | M2 |  |  |  |  | 0 | 3271.6049 | 698 | 3518.5185 | 353(Ⅱ) | 3469.1358 | 624 |  |  | 3271.6049
조사-037 | 메탈스터드 | 65*45*0.8 |  | M |  |  |  |  | 0 | 2580 | 543 | 2600 | 418(Ⅱ) | 2580 | 688 |  |  | 2580
조사-038 | 메탈스터드 | 100*45*0.8 |  | M |  |  |  |  | 0 | 3140 | 543 | 3170 | 418(Ⅱ) | 3140 | 688 |  |  | 3140
조사-039 | 메탈러너 | 67*40*0.8 |  | M |  |  |  |  | 0 | 2140 | 543 | 2120 | 418(Ⅱ) | 2140 | 688 |  |  | 2120
조사-040 | 메탈러너 | 102*40*0.8 |  | M |  |  |  |  | 0 | 2670 | 543 | 2600 | 418(Ⅱ) | 2670 | 688 |  |  | 2600
조사-041 | 나사 | 65MM |  | EA |  |  |  |  | 0 | 55 | 95 | 65 | 112(Ⅱ) |  |  |  |  | 55
조사-042 | 나사 | 100MM |  | EA |  |  |  |  | 0 | 85 | 95 | 108 | 112(Ⅱ) |  |  |  |  | 85
조사-043 | HILTI PIN | NK 32S12 |  | 발 |  |  |  |  | 0 | [6 empty] | 55 |  | 55
조사-044 | 시멘트 |  |  | KG |  |  |  |  | 0 | 137.5 | 106 | 135 | 134(Ⅱ) | 140 | 93 |  |  | 135
조사-045 | 모래 |  |  | M3 |  |  |  |  | 0 | 25000 | 103 | 28000 | 130(Ⅱ) | 29000 | 92 |  |  | 25000
조사-046 | 흑경 | 10T |  | M2 |  |  |  |  | 0 | [6 empty] | 50000 |  | 50000